Supplier name: QMWARE

Supplier contact: email

Product/service supplied:

The laboratory has designated QMWARE LIMS as the exclusive vendor for the Laboratory Information Management System software outlined in the Table below:

| Equipment/Software | Description | Calibration Required? |
| --- | --- | --- |
| QMWARE Laboratory Information Management System | - An information management system capable of registering clients, making precise gravimetric calculations to be deployed in the analysis of Proximates (Ash, IM, VM) & Total moisture, following the guidelines of their respective ISO standards (1171, SANS 5925, 562, 589) - Physical analysis & calculations of coal samples, namely total moisture(gravimetry), PSD & Abrasive Index (Eskom method). - Moreover, the system must be able to produce a unique sample identification number per registered sample. - The system shall be linked with Drycal calorimetry software to be able to import calorific value test results to their respective sample ID’s as initially registered on LIMS. - The software must be able to protect data in the form of backups & tempering by means of passwords. - Clear traceability in the conduct of analysis of methods. | No, verification to be conducted by the lab |

To be filled by the service provider

I, ___________________________________________ on behalf of QMWARE hereby mandate that QMWARE will be able to undertake the provision of the Laboratory Information Management System as described in the table above. QMWARE commits itself to providing timely remote/onsite assistance whenever issues arise in the use of LIMS.

Signature: ________________________

Date: ____________________________

To Be Filled by Azuresky Pty Ltd

Competence & Acceptance Criteria

The overall competence & acceptance criteria required for the provision of LIMS is the fulfilment of the description listed in the table above & ± 5 years of similar industry relevance in the provision of such software systems.

Remarks: This appointment is based on QMWARE’s established competence and a proven track record of reliability established through previous institutional engagements.

Supplier approval

☒ Approved
☐Conditionally Approved (e.g., for low-risk items or pending documents)
☐Not Approved

Evaluator Name: Tshepo Maponya

Signature: ___________________________ 
Date: ________________________________