## Dashboard
ISO/IEC 17025:2017 ¦ LABORATORY QMS DASHBOARD (AUDIT READINESS)
Report Date: |  |  | 2026-10-07
EXECUTIVE SUMMARY — KEY PERFORMANCE INDICATORS
TOTAL NCRs LOGGED | OPEN NCRs | NCR CLOSURE RATE | AVG DAYS TO CLOSE NCR | OPEN / IN-PROGRESS CAPA | OVERDUE CAPA
29 | 0 | 79.31% | 0 | 4 | 0
Cl. 8.7 | Target: 0 | Target: 100% | Target: <=30 days | Cl. 8.7 | Target: 0
CAPA EFFECTIVENESS VERIFIED | INTERNAL AUDITS COMPLETED (YTD) | OPEN AUDIT FINDINGS | PT/ILC SATISFACTORY RATE | EQUIPMENT CALIBRATION OVERDUE | STAFF COMPETENCY OVERDUE
100% | 7 / 7 | 0 | 0% | 0 | 9
Target: 100% | Cl. 8.8 - Planned | Target: 0 | Cl. 7.7 - Target: 100% | Cl. 6.4 - Target: 0 | Cl. 6.2 - Target: 0
OPEN CUSTOMER COMPLAINTS | AVG DAYS TO CLOSE COMPLAINT | DOCUMENTS OVERDUE REVIEW | DOCUMENTS DUE SOON (90d) | OPEN MGMT REVIEW ACTIONS | AUDIT READINESS SCORE
1 | 12 | 7 | 0 | 2 | 63
Cl. 7.9 - Target: 0 | Target: <=15 days | Cl. 8.3 - Target: 0 |  | Cl. 8.9 - Target: 0 | Composite - Target: 100%
TREND & DISTRIBUTION ANALYSIS
Data source tabs: NCR Register ¦ CAPA Tracker ¦ Internal Audits ¦ PT-ILC ¦ Calibration ¦ Staff Competency ¦ Customer Feedback ¦ Document Control ¦ Management Review. All KPIs recalculate automatically as log sheets are updated (F9 / auto-calc on open).

## NCR Register
ISO/IEC 17025:2017 QMS DASHBOARD ¦ NCR REGISTER
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
NCR No | Date Raised | Source | ISO 17025 Clause Ref | Description of Nonconformity | Severity | Root Cause | Corrective Action | Responsible | Target Closure Date | Status | Actual Closure Date | Days to Close | Verified By | Effectiveness Check Date
NC01 09/2025 | 05/09/2025 | Material Processing | ISO 17034, Clause 7.5. | CRM's of two different qualities were packaged and labelled as one sample CRM 006 and PT A Aug 2025. | Major | Inadequate planning for future in that at the time of packaging, stickers were unavailable. Cross contamination due to incorrect storage/handling | Isolate the affected CRM batches and remove them from storage. | Tshepo Maponya | 06/09/2025 | Closed | 06/09/2025 | 0 | Laboratory Supervisor | Effective
NC02 09/2025 | 15/09/2025 | PTS Reports | SANAS R80-06 Clause 7.3. | Reference values & their establishment omitted within all PT reports (1-6). | Minor | Oversight when doing the checklist requirements of a PT report (see report for details). | Add a section for CRM characterisation and their establishment on the PT final report. | Operation Manager | 15/09/2025 | Closed | 15/09/2025 | 0 | Laboratory Manager | Effective
NC03 09/2025 | 19/09/2025 | QC Charts | ISO 17025 Clause 7.7 | There are 11 points on one side of the IM control chart(02/06-18/09). The bias was not investigated. | Major | The primary root cause was negligence as well as lack of understanding of significance of job, | A new control was opened since the previous one was approaching an end/finishing. The remaining coal in the near empty pulp was heavily oxidised due to usage and most of the moisture had escaped. | Sifiso Nyambi | 20/09/2025 | Closed | 20/09/2025 | 0 | Laboratory Manager | Effective
NC03/2025 T | 05/01/2026 | Assessment and monitoring of stability | ISO 17034, Clause 7.11. | Stability monitoring results for CRM004 and CRM 005 (July-Dec 2025) were incorrectly assigned due to swapping of CRM bottles during storage | Major | * CRM stickers not available at the time of packaging. * No secondary/temporary labelling system defined for use during stickers shortage *Packaging procedure allows packaging to proceed when CRM stickers | CRM preparation and packaging procedure was revised to mandate immediate individual bottle labelling during packaging and to prohibit CRM units storage/testing unless permanent identification labels are available amd applied. A formal hold or quarantine process including approved temp identification was introduced for such situations where labels are unavailable. | Sifiso Nyambi | 06/01/2026 | Closed | 06/01/2026 | 0 | Laboratory Manager | Effective
NC04/2026 T | 15/01/2026 | Technical Records | ISO 17025 7.5.1 | No records for 4.75mm crusher efficiency | Major | The procedure lacked explicit instruction on the crusher effeiciency of 4.75mm. Thus, efficiency was done unofficially. | Update the ASIW001 document to include when to do the efficiency of the crusher in question. | N. Msibi | 16/01/2026 | Closed | 16/01/2026 | 0 | Laboratory Manager | Effective
NC05/2026 | 15/01/2026 | Technical Records | ISO 17025 7.5.1 | No records for in-house maintenance of equipment | Minor | Initially, the lab did not see the need to have an in-house given that service providers leave job cards after major maintenances. | Purchase an in-house maintenance book | N. Msibi | 28/01/2026 | Closed | 28/01/2026 | 0 | Laboratory Manager | Effective
NC06/2026 T | 05/02/2026 | Structural Requirements | ISO 17025(SANAS F48 cl 5.3) | CAB claimed conformity/accreditation to ISO/IEC 17025 even though it is still going through the accreditation process | Major | The lab did not intend to claim conformity/accreditation. CAB only meant that the QMS is designed based on the structure of ISO 17025. | Revise the document to make it clear about the position of the lab's non accredited status. | Sifiso Nyambi | 10/02/2026 | Closed | 10/02/2026 | 0 | Laboratory Manager | Effective
NC07/2026 T | 02/09/2026 | Structural Requirements | ISO 17025 (SANAS 5.4 F48-07) | The requirements of the standard, customer regulatory authorities and organization providing regulation was not addressed/documented in the QMS of the CAB | Major | The QMS was still being developed therefore the document that states the requirement of standards, customers, regulatory authorities was not drafted leading to an incomplete system documentation | The drafting of the requirements of standards, customer, reg auth etc (ASMF5.4) was done | Sifiso Nyambi | 10/02/2026 | Closed | 10/02/2026 | 0 | Laboratory Manager | Effective
NC08/2026 T | 04/02/2026 | Externally Provided Products and Services | ISO 17025 (SANAS 6.6.2 F48-07) | The subcontractor/coutractor register doesn't list any supplier/service provider. Another point that was not addressed: how does the lifted evaluation criteria for supplies or services help in assessing their performance. | Major | Oversight and human error were the root cause through the use of cause tool | The updated list for evaulation was created | Sifiso Nyambi | 06/02/2026 | Closed | 06/02/2026 | 0 | Laboratory Manager | Effective
NC09/2026 T | 02/09/2026 | Customer Complaints | ISO 17025 (SANAS F48 Cl7.9.2) & 7.9.7 | Cab did not outline how it intends to make the complaint handling process avaliable to interested parties and how it plans to issue communication of the final outcome of logged complaints | Minor | The issue was caused by oversight and incomplete system documentation. Although the complaint and appeal handling information was avaliable on the company website, it was not fully captured in the formal complaint and appeal procedure document | The complaint and appeal procedure document (ASMF 7.18B) was updated to include the information already published on the website | Sifiso Nyambi | 09/02/2026 | Closed | 09/02/2026 | 0 | Laboratory Manager | Effective
NC10/2026 T | 02/09/2026 | Non Conforming Work | ISO 17025 (SANAS F48-07 Cl7.10) | The responsibility for authorising the resumption of work not clearly defined in 7.17 document | Major | Due to incomplete system documentation, nowhere in the documented system was it clearly stated as to who gives authority for resumption of work | The drafting or updating of the document (ASMF7.17) clearly stating that the operations/ lab manager authorizes resumption of work | Sifiso Nyambi | 10/02/2026 | Closed | 10/02/2026 | 0 | Laboratory Manager | Effective
NC11/2026 | 10/02/2026 | Technical Records | ISO 17025 7.2.1.2 | The sampled procedure for the determination of inherent moisture AS0041W has no date (effective and next review date) | Major | This matter was an oversight and as a result, there was no effective and next review date for the sampled procedure for determination of inherent moisture AS0041W | The document AS0041W was updated with the effective date and next review date | Tshepo Maponya | 11/02/2026 | Closed | 11/02/2026 | 0 | Laboratory Supervisor | Effective
NC12/2026 | 10/02/2026 | Equipment | ISO 17025 Clause 6.4 | it was noted that there is no additional process/procedure detailinng the implementation of the requirement 6.4 | Major | The required process for clause 6.4 were not fully written down. The root cause was incomplete system documentation | A new document was drafted -ASMF6.3 PROC - detailing the additional processes of the implementation of 6.4 requirement and memo-003 was sent out to all personnel | Tshepo Maponya | 11/02/2026 | Closed | 11/02/2026 | 0 | Laboratory Supervisor | Effective
NC13/2026 | 06/02/2026 | Corrective Action | ISO 17025 (Clause 8.7.1, SANAS F48-07) | The timelines to address NCs was not specified | Major | Incomplete system documentation | Document ASMF7.17 was updated with specified timesframes for closing/addressing NCs | Sifiso Nyambi | 07/02/2026 | Closed | 07/02/2026 | 0 | Laboratory Manager | Effective
NC14/2026 | 12/02/2026 | Evaluation of UoM | ISO 17025 (Clause 7.6) | There is no clear indication of contributors to measurement uncertainty UB001 only indicates expanded uncertainty, no contributors mentioned. | Major | Oversight | Revised UB001 to include detailed uncertainty budget tables for volatile matter, inherent moisture, ash determination and calorific value. | Tshepo Maponya | 12/02/2026 | Closed | 12/02/2026 | 0 | Laboratory Supervisor | Effective
NC15/2026 | 11/02/2026 | Corrective Action | ISO 17025 (SANAS F48 cl 8.7) | Procedure for the control of NC's doesn't adequately define how the effectiveness of corrective actions is reviewed and verified. Timeliness for effectiveness review not specified, particularly where immediate verifcation is not practical, and no distinction is made b/w minor and major NCS. Procedure doesn't clearly require changes to the management system where necessary to prevent recurrence. In addition, corrective actions, records, including root causes, actions taken, and results of effectiveness verificationare not explicitly required to be retained. This limit's the lab's ability to demonstrate that corrective actions are effective and sustained. | Major | Incomplete system documentation & processes not defined. The procedure for NC working failed to adress how the corrective action effectiveness are revised/verifed detail requirements for changes in management system as well as record retention. | Management of NC procedure (ASMF 7.17) was updated to include the omitted requirements. | Sifiso Nyambi | 12/02/2026 | Closed | 12/02/2026 | 0 | Laboratory Manager | Effective
NC16/2026 | 06/02/2026 | Method Validation | ISO 17025 cl 7.2.2 | Not all performance charatcers were evaluated in the report AS003MV, and no valid reason provided. | Major | Original validation report focused on the parameters making the method sufficiently fit for purpose, but neglected to include reasons for omission. Thus, making the NC to be classified as incomplete system documentation. | Update AS003MV procedure to include reasons for omission of certain perfomance characteristics. | Tshepo Maponya | 06/02/2026 | Closed | 06/02/2026 | 0 | Laboratory Supervisor | Effective
NC17/2026 | 11/02/2026 | Internal Audit | ISO 17025 (SANAS F48-07 Cl 8.8) | Internal audit program lacked clarity and completeness in several key areas. Audit criteria are not explicitly defined as required by ISO 17025, and there is limited documented evidence of formal reporting to management. Corrective actions arising from audits not assigned not assigned, implementation timelines, and audit retention is nit clearly specified. | Major | Incomplete system documentation | Update internal audit AUI001 | Sifiso Nyambi | 12/02/2026 | Closed | 12/02/2026 | 0 | Laboratory Manager | Effective
NC18/2026 | 05/02/2026 | Personnel | ISO 17043 6.2. | Organization lacked a process/procedure for selection, appointing, and recruitment of technical personnel. | Major | Incomplete system documentation | Document a procedure for the selection and recruitment of technical personnel | Tshepo Maponya | 05/02/2026 | Closed | 05/02/2026 | 0 | Laboratory Supervisor | Effective
NC19/2026 | 06/02/2025 | Personnel | ISO 17043 6.2.3. | Competency declaration ASMI 6.1. Rev 00 for technical tasks only, not indicating the overall responsibility to be able to evaluate significance of deviations. | Major | Incomplete system documentation | Revise form ASMF6.1. to includea section explaining that personnel have been trained to identify deviations, assess, investigate and address NCs. | Tshepo Maponya | 06/02/2026 | Closed | 06/02/2026 | 0 | Laboratory Supervisor | Effective
NC21/2026 | 12/02/2026 | QC Intermediate Checks | ISO 17025 cl 7.7 | On the 29/09/2025 samples were analysed with the control sample out of limits for CV. | Major | Negligence & Oversight | Re-train the personnel and check if any PT samples were affected. | Sifiso Nyambi | 26/02/2026 | Closed | 26/02/2026 | 0 | Laboratory Manager | Effective
NC22/2026 | 13/03/2026 | Reporting of Results and Combined Performance Score | ISO 17025 cl 7.8 & ISO 13528 clause 9.9.1 | The PT reporting process failed to ensure that results for distinct PT items were evaluated and presented separately. | Major | Process not defined | Update the statistical design to encompass the testing of two PT items within the same round. Ammended all reports for time frame affected | Sifiso Nyambi | 16/04/2026 | Closed | 16/04/2026 | 0 | Laboratory Manager | Effective
NC26/2026 | 27/08/2026 | Non Conforming Work and LIMS | ISO 17025 Cl 7.10 and 7.11 | Formatting error in the automated LIMS export template caused TM figures to be truncated to one decimal place and incorrectly rendered from 2 stage primary database entries. | major | Inadequate validation of macros template | Decommission the faulty export sheet, Update the macroscript to pull the float values of TM directly from the primary SQL/LIMS toable using proper rounding functions and Lock the macroscript and sheet structure to prevent unauthorised formula adjustments. | Sifiso Nyambi | 28/08/2026 | Closed | 28/08/2026 | 0 | Operations Manager | Effective (to be properly verified using next bias test)
NC028/2026 | 02/09/2026 | Evaluation and Performance and PT Reports | ISO 17043 Cl 7.4.2 and 7.4.3 | The publised PT reports contain conflicting information regarding z-score investigating thresholds and ambigous boundary rules. | Major | Inconsistent harmonisation b/w different reporting templates and historical lack of an explicit procedural rule governing absolute value distance, range boundaries, and strict boundary limits for questionable vs satisfactory ratings. | Fix the conflicting statement regarding the z-scores and send a re-issue to VAS. | Sifiso Nyambi | 03/09/2026 |  | 03/09/2026 | 0 | PT coordinator
NC030/2026 | 17/06/2026 | Corrective Action | ISO 17025 8.7 | During the external audit, a non-conformance was identified regarding auditor competency. The individual designated by management to execute the internal audit(Managing Director) lacks formal ISO/IEC 17025 internal auditor training, certification, or verifiable auditor experience. Currently, the company does not posses any internal personnel with the necessary qualifications to legally perform quality or technical internal audits. This was flagged during external assessment as an invalid control that threatens the integrity and independence of the QMS | Major |  |  | Tshepo Maponya
NC31/2026 | 14/09/2026 | Internal Audit | ISO 17025 8.8 | The internal audit planned for August 2026, covering personnel competence, training and impartiality was not conducted as scheduled. No valid documented reason or evidence of approved scheduling was provided for the missed audit. | Major |  |  | Sifiso Nyambi
NC32/2026 | 14/09/2026 | Externally Provided Products and Services | ISO 17025 6.6 | Document ASMF 5.3 requires externally provided services, including outsourced analysis, to be evaluated and approved prior to use. However, it was found that the Total Sulphur for AES report Nos. 1 & 2 was outsourced to a service provider that had not been evaluated and approved prior to use, contrary to the established procedure. | Major |  |  | Sifiso Nyambi
NC33/2026 | 05/10/2026 | Personnel and Management Review | ISO 17025 cl 6.2.2 and 8.9.3 | During the MRM (may 2026), it was documentedthat the safety medical certificates for operations and lab manager had expired in April 2026. Action was assigned to renew the medicals by July 2026 during the execution of Vryheid safety file. As of October 2026, these medicals remain undone, thus leaving key lab personnel operating 6 months past their medical epiratio date and 3 months past the MRM target completion date without valid health clearance or documented risk assessment. | Major |  |  | Sifiso Nyambi
NC34/2026 | 05/10/2026 | Management Review | ISO 17025 cl 8.9.3 | During the MRM (may 2026), personnel raised grievances regarding excessive workload and resource constraints. Action item 9 was recorded in the table requiring operations manager to setup internal feedback form/system by July 2026. As of October 2026, the grievance form/system has not been developed or implemented, exceeding agreed target date by 3 months. | Major |  |  | Sifiso Nyambi

## CAPA Tracker
ISO/IEC 17025:2017 QMS DASHBOARD ¦ CAPA TRACKER
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
CAPA No | Linked NCR/ Source Ref | Date Raised | Type | Description | Root Cause Method Used | Action Plan | Responsible | Target Date | Status | Closure Date | Days Open | Effectiveness Verified (Y/N) | Effectiveness Review Date | Comments
CAPA-2026-01 | NCR-2026-01 | 2026-01-15 | Corrective | Eliminate recurrence of missed verification sign-off | 5 Why | Digitised checksheet with mandatory verifier field; SOP QP-07 revised | Lab Supervisor | 2026-02-15 | Closed | 2026-02-10 | 26 | Y | 2026-05-10 | Effective - zero recurrence in 90-day review
CAPA-2026-02 | NCR-2026-02 | 2026-01-23 | Corrective | Prevent load cell drift going undetected | Fishbone | Reduced calibration interval; added interim daily check with reference load | QC Engineer | 2026-02-23 | Closed | 2026-02-18 | 26 | Y | 2026-05-18 | Effective
CAPA-2026-03 | NCR-2026-03 | 2026-02-04 | Corrective | Correct technique variance on Atterberg Limits | 5 Why | Refresher training + witnessed assessment for all Geotech staff on D4318 | Geotech Lead | 2026-03-06 | Closed | 2026-02-28 | 24 | Y | 2026-05-28 | Effective - satisfactory PT re-run
CAPA-2026-04 | NCR-2026-04 | 2026-02-12 | Corrective | Eliminate manual transcription errors | Process Mapping | Automated data transfer from sieve balance to report template | IT/QA Coordinator | 2026-03-31 | Closed | 2026-03-25 | 41 | Y | 2026-06-25 | Effective
CAPA-2026-05 | - | 2026-03-10 | Preventive | Reduce single point of failure risk across critical test methods | Risk Assessment (Cl. 8.5) | Cross-training plan for 3 critical methods across 2 backup staff each | Technical Manager | 2026-06-30 | In Progress |  | 211 | N
CAPA-2026-06 | NCR-2026-06 | 2026-03-19 | Corrective | Ensure environmental data always captured | 5 Why | Checksheet field made mandatory in LIMS; validation rule added | Soils Section Head | 2026-04-19 | In Progress |  | 202 | N
CAPA-2026-07 | NCR-2026-07 | 2026-04-06 | Corrective | Prevent worn sieve mesh going undetected | Fishbone | Interim verification frequency increased; sieve wear log introduced | QC Engineer | 2026-05-06 | Open |  | 184 | N
CAPA-2026-08 | NCR-2026-08 | 2026-04-21 | Preventive | Close competency gap on bitumen ductility method | Risk Assessment | Second technician nominated; training booked with external provider | Technical Manager | 2026-07-21 | Open |  | 169 | N
Formulas:
Days Open = IF([Closure Date]="",TODAY()-[Date Raised],[Closure Date]-[Date Raised])

## Internal Audits
ISO/IEC 17025:2017 QMS DASHBOARD ¦ INTERNAL AUDITS
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
Audit No | Audit Date | Area/Clause Audited | Auditor | Major NCs | Minor NCs | OFIs | Total Findings | Status | Report Issue Date | All Findings Closed (Y/N) | Next Audit Due
IA-2026-01 | 2026-01-21 | Management requirements of ISO 17025 | S. Nyambi & TMJ Maponya | 0 | 0 | 0 | 0 | Completed | 2026-01-21 | N/A | 2027
IA-2026-01 | 2026-01-27 | Technical requirements & VC for PTS | S. Nyambi & TMJ Maponya | 0 | 0 | 0 | 0 | Completed | 2026-01-27 | N/A | 2027
IA-2026-05 N1 | 2026-05-12 | Managament requirements (Cl 4 and 5) | N Msibi | 0 | 0 | 0 |  | Completed | 2026-05-12 | N/A | 2027
IA-2026-05 N2 | 2026-05-14 | Managament requirements (Cl 8) | N Msibi | 0 | 0 | 0 | 0 | Completed | 2026-05-14 | N/A | 2027
IA-2026-07 | 2026-07-24 | Managament requirements (Cl 8.1-8.3) | N Msibi | 0 | 0 | 0 | 0 | Completed | 2026-07-24 | N/A | 2027
IA-2026-09 N1 | 2026-09-22 | ISO 17025 Clause 6,2 ;4.1 | N Msibi | 0 | 0 | 0 | 0 | Completed | 2026-09-22 | N/A | 2027
IA-2026 09 N2 | 2026-09-23 | ISO 17025 Clause 6,3 - 6.4 | N Msibi | 0 | 0 | 0 | 0 | Completed | 2026-09-23 | N/A | 2027

## PT-ILC
ISO/IEC 17025:2017 QMS DASHBOARD ¦ PT-ILC
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
PT/ILC No | Scheme Provider | Test Parameter / Method | Participation Date | Result (Z-score/En) | Performance | Corrective Action Required (Y/N) | CAPA Ref | Status | Next Participation Due
Closed
Closed
Closed
In Progress
Closed
Closed
Scheduled

## Calibration
ISO/IEC 17025:2017 QMS DASHBOARD ¦ CALIBRATION
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
Equipment ID | Equipment / Instrument Name | Location / Section | Accredited Provider (Y/N) | Last Calibration Date | Interval (Months) | Due Date | Certificate No | Status | Days to Due
AS025PA | Platform Scale | Prep | Y | 27-02-2026 | 12 | 2027-03-31 | AZU F1.2 | Valid | 175
AS00A31 | Top pan balance | Prep | Y | 27-02-2026 | 12 | 2027-03-31 | AZU T1.2 | Valid | 175
AS2156 | Analytical balance | Analysis Room | Y | 27-02-2026 | 12 | 2027-03-31 | AZU A1.2 | Valid | 175
AS0096D | Hygrometer | Analysis Room | Y | 19-03-2026 | 12 | 2027-03-31 | AZUS TH2.1 | Valid | 175
AS02217 | Ash Furnace | Furnace room | Y | 27-02-2026 | 12 | 2027-03-31 | AZU AF1.2 | Valid | 175
AS01338 | Volatile Furnace | Furnace room | Y | 27-02-2026 | 12 | 2027-03-31 | AZU VF1.2 | Valid | 175
AS3800 | IM drying oven | Analysis room | Y | 27-02-2026 | 12 | 2027-03-31 | AZU MO1.2 | Valid | 175
AS00110 | Mass pieces | Analysis room | Y | 17-03-2025 | 12 | 2027-03-31 | OB WS1.1R | Valid | 175
AS8284 | Probe and thermometer | Manager’s office | Y | 03-2026 | 12 | 2027-03-31 | CAL/2026/0102 | Valid | 175
| Probe and thermometer | Manager’s office | Y | 06-03-2026 | 12 | 2027-03-31 | OBS T2.2b | Valid | 175
AS00111 | B Drying oven | Prep area | Y | 11-12-2025 | 12 | 2026-12-31 | NKOT MO2.5 A | Valid | 85
Formulas:
Status = IF([Due Date]<TODAY(),"Overdue",IF([Due Date]<TODAY()+30,"Due Soon","Valid"))
Days to Due = [Due Date]-TODAY()

## Staff Competency
ISO/IEC 17025:2017 QMS DASHBOARD ¦ STAFF COMPETENCY
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
Staff Name | Position | Test Method / Scope | Current Competency Date | Reassessment Interval (Months) | Next Assessment Due | Status | Assessor | Initial Witnessing Testing (Y/N) | Remarks
S Nyambi | Lab Manager | ISO/Quick Ash | 2026-09-14 | 12 | 2027-09-09 | Competent | Operations Manager | Y | Initial assessment can be found in the competency file |  |  | Lab Tech | Operator | Lab Supe | Lab Man | Ope Man
|  | Inherent Moisture | 2026-09-14 | 12 | 2027-09-09 | Competent | Operations Manager | Y | Initial assessment can be found in the competency file
|  | Volatile Matter | 2026-09-14 | 12 | 2027-09-09 | Competent | Operations Manager | Y | Initial assessment can be found in the competency file
|  | Calorific Value | 2026-09-14 | 12 | 2027-09-09 | Competent | Operations Manager | Y | Initial assessment can be found in the competency file
|  | Total Moisture |  | 12 | 1900-12-25 | Overdue | Operations Manager | Y | Initial assessment can be found in the competency file
|  | PSD |  | 12 | 1900-12-25 | Overdue | Operations Manager | Y | Initial assessment can be found in the competency file
|  | Washability |  | 12 | 1900-12-25 | Overdue | Operations Manager | Y | Initial assessment can be found in the competency file
|  | Sample Prep | 2026-09-14 | 12 | 2027-09-09 | Competent | Operations Manager | Y | Initial assessment can be found in the competency file
|  | Technical Sign | 2026-09-14 | 12 | 2027-09-09 | Competent | Operations Manager | Y | Initial assessment can be found in the competency file
G Chisali | Lab Supervisor | ISO/Quick Ash |  | 12 | 1900-12-25 | Overdue | Lab Manager |  |  |  |  | ISO Ash | Sample prep | ISO Ash | ISO Ash | ISO Ash
|  | Inherent Moisture |  | 12 | 1900-12-25 | Overdue | Lab Manager
|  | Volatile Matter |  | 12 | 1900-12-25 | Overdue | Lab Manager
|  | Calorific Value |  | 12 | 1900-12-25 | Overdue | Lab Manager
|  | Total Moisture |  | 12 | 1900-12-25 | Overdue | Lab Manager
|  | PSD |  | 12 | 1900-12-25 | Overdue | Lab Manager
|  | Washability |  | 12 | 1900-12-25 | Due Soon | Lab Manager
K Maleka | Lab Analyst/ PT Coordinator | ISO/Quick Ash | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file |  |  | ISO VM | TM | ISO VM | ISO VM | ISO VM
|  | Inherent Moisture | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file
|  | Volatile Matter | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file
|  | Calorific Value | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file
N Hlongwane | Lab Analyst/ PT Coordinator | ISO/Quick Ash | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file |  |  | ISO IM | PSD | ISO IM | ISO IM | ISO IM
|  | Inherent Moisture | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file |  |  | ISO CV | Wash | ISO CV | ISO CV | ISO CV
|  | Volatile Matter | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file |  |  | Q-ash |  | Sample prep | Sample prep | Sample prep
|  | Calorific Value | 2026-09-14 | 12 | 2027-09-09 | Competent | Lab Manager | Y | Initial assessment can be found in the competency file |  |  |  |  | Q-ash | Reporting | Reporting
N Nyambi | Lab Operator | Sample Prep | 2026-09-21 | 12 | 2027-09-16 | Competent | Snr Analyst | N
|  | Total Moisture | 2026-09-21 | 12 | 2027-09-16 | Competent | Snr Analyst | N
|  | PSD | 2026-09-21 | 12 | 2027-09-16 | Competent | Snr Analyst | N
K Tshabalala | Lab Operator | Sample Prep | 2026-09-21 | 12 | 2027-09-16 | Competent | Snr Analyst | N
|  | Total Moisture | 2026-09-21 | 12 | 2027-09-16 | Competent | Snr Analyst | N |  | Evidence check: | Sample prep = Crusher eff, Pulve eff, TM, PSD, Wash, Balance verificatio
|  | PSD | 2026-09-21 | 12 | 2027-09-16 | Competent | Snr Analyst | N
Formulas:
Next Assessment Due = [Current Competency Date]+[Reassessment Interval (Months)]*30
Status = IF([Next Assessment Due]<TODAY(),"Overdue",IF([Next Assessment Due]<TODAY()+60,"Due Soon","Competent"))

## Customer Feedback
ISO/IEC 17025:2017 QMS DASHBOARD ¦ CUSTOMER FEEDBACK
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
Complaint No | Date Received | Customer | Description | Category | Root Cause | CAPA Ref | Status | Closure Date | Days to Close | Satisfaction Follow-up (Y/N)
CMP-2026-01 | 2026-02-12 | Client - Contractor A | Queried reported gradation values for aggregate sample | Report Error | Transcription error in report template | CAPA-2026-04 | Closed | 2026-03-08 | 24 | Y
CMP-2026-02 | 2026-03-25 | Client - Consultant B | Delay in turnaround for concrete cube results | Turnaround Time | Backlog during peak casting period | - | Closed | 2026-04-02 | 8 | Y
CMP-2026-03 | 2026-05-10 | Client - Contractor C | Questioned CBR test methodology applied on site samples | Test Result | Clarification only - method applied correctly per D1883 | - | Closed | 2026-05-14 | 4 | Y
CMP-2026-04 | 2026-06-02 | Client - Consultant D | Requested reissue of report with corrected project reference | Service | Administrative error on project code | - | Open |  | 127 | N
Formulas:
Days to Close = IF([Closure Date]="",TODAY()-[Date Received],[Closure Date]-[Date Received])

## Document Control
ISO/IEC 17025:2017 QMS DASHBOARD ¦ DOCUMENT CONTROL
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
Doc No | Document Title | Type | Version | Issue Date | Review Interval (Yrs) | Review Due Date | Status | Approved By
[6 empty] | 0 | Overdue
[6 empty] | 0 | Overdue
[6 empty] | 0 | Overdue
[6 empty] | 0 | Overdue
[6 empty] | 0 | Overdue
[6 empty] | 0 | Overdue
[6 empty] | 0 | Overdue
Formulas:
Status = IF([Review Due Date]<TODAY(),"Overdue",IF([Review Due Date]<TODAY()+90,"Due Soon","Current"))

## Management Review
ISO/IEC 17025:2017 QMS DASHBOARD ¦ MANAGEMENT REVIEW
Blue-font cells are example/input rows — overwrite or extend with your own records. Do not delete the header row or column structure (dashboard formulas depend on it).
Legend: Blue text = example data to edit ¦ Black text = formula (auto-calculated) — do not overwrite.
Action No | Meeting Date | Clause 8.9 Input Area | Decision / Action | Responsible | Target Date | Status | Closure Date
MR-2026-01 | 2026-01-30 | NCR/CAPA Status Review | Approve additional QA resource for review of high-risk reports | Lab Director | 2026-03-01 | Closed | 2026-02-25
MR-2026-02 | 2026-01-30 | PT/ILC Performance | Mandate refresher training for any unsatisfactory PT result within 30 days | Technical Manager | Ongoing | Closed | 2026-02-10
MR-2026-03 | 2026-01-30 | Resource Adequacy | Approve budget for second ductility bath to remove single point of failure | Lab Director | 2026-06-30 | Open
MR-2026-04 | 2026-01-30 | Risk & Opportunity (Cl. 8.5) | Review supplier risk assessment for calibration providers | QC Engineer | 2026-04-30 | Open

## Chart Data (hidden)
Chart source data — auto-calculated. Do not edit.
NCR Status
Open | 0
Closed | 23
NCR Severity
Major | 25
Minor | 3
NCR by Source
Internal Audit | 2
Equipment | 1
PT/ILC | 0
Customer Complaint | 0
Staff Observation | 0
Management Review | 1
CAPA Status
Open | 2
In Progress | 2
Closed | 4
Internal Audit Findings (YTD)
Major NC | 0
Minor NC | 0
OFI | 0
Calibration Status
Valid | 11
Due Soon | 0
Overdue | 0
Staff Competency Status
Competent | 20
Due Soon | 1
Overdue | 9
PT-ILC Performance
Satisfactory | 0
Questionable | 0
Unsatisfactory | 0
NCR Aging (Open items, days since raised)
'NCR Register'!A6
'NCR Register'!A7
'NCR Register'!A8
'NCR Register'!A9
'NCR Register'!A10
'NCR Register'!A11
'NCR Register'!A12
'NCR Register'!A13