Contents

1. Purpose	1

2. Scope	1

3. Responsibilities	1

4. Definitions	1

5. Procedure	2

5.1 Identification of Data Integrity Risks	2

5.2 Risk Recording	2

5.3 Risk Mitigation Through Preventive Maintenance	2

5.4 Verification and Review	3

6. Records	3

7. References	3

8. Revision History	4

## 1. Purpose

To ensure that all potential risks to data integrity within the laboratory are identified, documented, assessed, and mitigated through planned preventive maintenance and control measures, in accordance with ISO/IEC 17025 Clause 7.11 and ISO/17043 clause 7.5.2

## 2. Scope

This procedure applies to all computer systems, servers, external storage devices, software applications (e.g., LIMS, spreadsheets), and other information management systems used for data acquisition, processing, reporting, and storage in the laboratory.

## 3. Responsibilities

- Laboratory Manager: Ensures implementation of this procedure and allocates resources for preventive maintenance.

- Laboratory Supervisor: Reviews and approves the risk register, verifies the effectiveness of mitigation actions, and ensures records are maintained.

- IT / Designated Technical Personnel: Conducts preventive maintenance, system updates, and data integrity checks as per the schedule (Externally provided services)

- All Staff: Report any observed or suspected data integrity risks, malfunctions, or anomalies immediately to management.

## 4. Definitions

Data Integrity: The accuracy, completeness, consistency, and reliability of data throughout its lifecycle.

Preventive Maintenance: Scheduled actions intended to prevent system failures or data loss.

Risk Register: A controlled record where all identified risks and mitigation actions are logged and monitored.

## 5. Procedure

### QMWARELIMS12, SOP’s, checklists, provide means for collecting, processing, recording, reporting, storage or retrieval of data. The functioning of the Laboratory Information Management System shall be validated for proper functioning of interface before implementation. Formulas, calculations and all required entries/input data is able or activated to collect, process, record, store and report.

Any decisions regarding changes of the software configuration or modifications to be implemented, these shall be authorized, documented and validated before implementation

### 5.1 Identification of Data Integrity Risks

Risks are identified through routine operations, internal audits, incidents, or staff observations.

Examples include:

Hardware failure (e.g., server crash, drive corruption)

Software malfunction or version incompatibility

Unauthorized access or accidental deletion of data

Environmental factors (power surges, temperature, humidity)

Human errors during data handling or entry

### 5.2 Risk Recording

All identified risks must be recorded in the Data Integrity Risk Register (ASMF 7.11 Register) using the following columns:

Risk ID

Description of Risk

Likelihood (Low/Medium/High)

Severity (Low/Medium/High)

Risk Level (Calculated)

Mitigation / Preventive Action

Responsible Person

Target Date

Verification of Effectiveness

### 5.3 Risk Mitigation Through Preventive Maintenance

The IT/Technical personnel maintain/repair any damage as and when necessary

### 5.4 Verification and Review

The Lab Manager/Supervisor shall review the Data Integrity Risk Register and Biannually to verify:

All identified risks are mitigated and closed.

Backup systems function correctly.

Preventive maintenance is conducted on schedule.

Results are discussed during Management Review Meetings.

## 6. Records

- Data Integrity Risk Register (DIRR)

- Backup Verification Records

Retention period: 10 years.

## 7. References

- ISO/IEC 17025:2017 – Clause 7.11 (Control of Data and Information Management)

- ISO/IEC 17043:2023 – clause 7.5.2 (Control of Data and Information Management)

## 8. Revision History

| Rev. No. | Date | Details of Revision | Approved By |
| --- | --- | --- | --- |
| 00 |  |  |  |