Table of Contents

1. Purpose & Scope	2

2. Selection and Verification	2

3. Identification and Labelling	2

4. Handling, Transport, and Storage	2

5. Calibration and Maintenance	3

6. Non-Conforming Equipment	3

7. Safeguarding	3

## 1. Purpose & Scope

This procedure outlines the selection, identification, calibration, and maintenance of all laboratory equipment. This applies to all "critical equipment"—any hardware or software that can significantly influence the accuracy of laboratory results.

## 2. Selection and Verification

Before any equipment is placed into service (whether it is brand new or returning from repair), it must be verified. Verification can be done in any of the following ways: calibration/efficiency test.

## 3. Identification and Labelling

All equipment listed in the register shall be uniquely identified with a dedicated equipment number.

- Calibration Labels: Equipment must be labelled with its calibration status, indicating the date of last calibration and the due date for the next calibration, where necessary.

## 4. Handling, Transport, and Storage

To prevent contamination, damage, or deterioration:

- Equipment must be used only by authorized personnel.

- Sensitive instruments (e.g., balances) must be protected from vibrations and extreme temperature shifts.

- If equipment is transported outside the lab, it must be re-verified upon return before being used for testing.

## 5. Calibration and Maintenance

- Calibration Program: The lab follows a schedule as defined in the Equipment Register (ASMF 6.3 Equipment Register).

- Service Providers: Calibration is performed by accredited facilities (refer to ASMF 6.2 for subcontracting/service provider assessment).

- Intermediate Checks: Where necessary (e.g., calorimeter, scales), "intermediate checks" are performed between calibrations to maintain confidence in the equipment's status.

## 6. Non-Conforming Equipment

If equipment has been subjected to overloading, mishandling, gives suspicious results, or is shown to be defective:

- Isolate: It must be taken out of service immediately.

- Label: A clear "OUT OF SERVICE" or "DO NOT USE" tag must be attached.

- Investigate: The lab must evaluate the impact of this defect on previous test results and initiate the non-conformance procedure if necessary.

## 7. Safeguarding

Equipment hardware and software shall be safeguarded from adjustments that would invalidate the test results. This includes password protection for software and physical seals on calibration-sensitive screws or knobs.

KINDLY NOTE THAT NO EQUIPMENT (BALANCES, CRUSHERS, FURNACES, HOMOGENEITY DRUM, PULVERISERS, OVENS) IS TO BE MOVED WITHOUT AUTHORISATION FROM MANAGEMENT.

8. Revision

| Revision no | Content changed | Reason for revision |
| --- | --- | --- |
| 01 | -Removal of action and record under section 2. -Addition of clause that prohibits the movement of equipment without authorisation. | - Simplify section 2. Selection and verification process of equipment. - Prevent re-occurrence of an NC (shifting equipment). |