INTERNAL MEMORANDUM

To: All Laboratory Personnel

From: Sifiso Nyambi

Compiler: Sifiso Nyambi

Approved by: Nonhlanhla Msibi

Date: 13/04/2026

Subject: Control of Equipment Movement and Balance Stability (ISO/IEC 17025 Clauses 6.4 & 7.4)

## 1. Purpose

The purpose of this memorandum is to address the improper movement of the platform scale during sample preparation processes, which poses a significant risk to measurement accuracy and data integrity. This memo establishes strict controls in line with ISO/IEC 17025 requirements.

## 2. Scope

This instruction applies to all laboratory personnel involved in weighing, sample preparation, and handling of measuring equipment.

## 3. Requirement

In accordance with ISO/IEC 17025 Clause 6.4 (Equipment) and Clause 7.4 (Handling of Test Items), all weighing equipment, including balances and platform scales, shall remain in a fixed, controlled position during operation. No equipment shall be moved without prior authorization from laboratory management.

## 4. Instruction

Effective immediately (13-04-2025)

- No balance or platform scale is to be moved once calibrated and verified for use.

- Any requirement to relocate equipment must be approved by laboratory management.

- Upon relocation, the equipment must undergo re-verification, leveling, and, where applicable, recalibration before use.

- Unauthorized movement of equipment will be treated as non-conformance.

## 5. Factors Affecting Balance Stability

The following environmental and operational factors significantly influence balance performance and measurement reliability:

- Air currents and drafts cause drift in readings.

- Temperature fluctuations affect internal components.

- Vibration from nearby equipment or foot traffic.

- Unstable or uneven surfaces affecting leveling.

- Electrostatic charges influence mass readings.

- Magnetic fields interfering with electronic balances.

- Improper leveling of the balance.

- Humidity variations affecting sample mass.

- Operator managing and inconsistent weighing techniques.

## 6. Compliance

Failure to comply with this instruction may result in invalid test results and compromise the laboratory’s accreditation status. All personnel are required to adhere strictly to this directive.

## 7. Records

All equipment movement, maintenance, and verification activities must be documented in the equipment logbook in accordance with quality system procedures.

## 8. Revision History

| Revision | Date | Description | Approved By |
| --- | --- | --- | --- |
| 00 | 13-04-2025 | Initial issue | Nonhlanhla Msibi |