MANAGEMENT REVIEW MEETING MINUTES

Date:  15 October 2026 (continued 16 October 2026)

Time: 11:00 to 14:00 ()

Location: AzurESky Office

Attendees

- NP Msibi (Operations Manager/Chair)

- SB Nyambi (Lab Manager)

- G  Chisali (Lab supervisor)

- K Maleka (Lab Analyst)

- NN Hlongwane (Lab Analyst)

- K Tshabalala (Lab Operator)

- NV Nyambi (Lab Operator)

Minutes (Key discussions)

- Status of Actions from Previous Management Review

- Air Conditioner Drainage

The issue has been addressed, and the temporary arrangement of collecting the air conditioner drainage water in buckets is currently being implemented. The purchase of appropriate drainage equipment remains a long-term solution.

Status: In progress.

- Purchase of New Gloves

The gloves have been purchased.

Status: Completed.

- PPE Stock Inventory

The development of the PPE stock inventory will commence once the on-site laboratory is available, which is expected to open soon.

Status: Pending.

- Crucible Trays

The crucible trays are awaiting collection from Micron.

Status: Pending collection.

- Disciplinary Procedure

The disciplinary procedure is still pending, with a due date of 25 October 2026. The procedure will undergo internal review before being submitted for external review.

Status: Pending.

- Non-Conformance Register

The non-conformance register requires updating. Eight outstanding non-conformances still need to be addressed.

Status: Outstanding actions to be addressed.

- Outstanding Non-Conformances

NC31/2026: The audit was conducted; however, the non-conformance was not addressed. A justification letter will be provided to explain why the non-conformance was not addressed.

NC32/2026: Gift will be responsible for addressing this non-conformance. It was agreed that outsourced laboratories will be evaluated before being used, and supporting evidence of the evaluations will be attached.

Status: Pending resolution and submission of supporting evidence.

- Medical Examinations

Medical examinations are scheduled to be conducted on 19 October 2026.

Status: Scheduled.

- Establishment of PPE Inventory Room

The PPE inventory room will be established once the on-site laboratory is available, which is expected to open soon.

Status: Pending.

- Document an Ethics Policy

New Agenda discussion

2.Changes in internal and external issues relevant to the management system (e.g.

revised regulations, SANAS requirements).

- Loss of a Technical Signatory: One technical signatory was lost. This issue will be addressed using document AS-QMS-Risk-TS-01, which will be discussed on 23 October 2026.

- Staffing Changes: Two laboratory operators, one analyst, and one supervisor have been added to the team.

- SANAS Documentation (ISO 17034 and ISO/IEC 17043): SANAS has responded to the application, and a response from our side is still outstanding. NN Hlongwane and K Maleka are responsible for preparing the response. They are still familiarising themselves with the system and are progressing with the process gradually. Due Date: February 2027.

3.Results of internal and external audits (including nonconforming work and

corrective and preventive actions).

- The deadlines for closing non-conformances (NCs) were not met. New timelines have been established to ensure that the outstanding NCs are addressed and closed within the agreed deadlines.

4.Complaints, feedback, and customer satisfaction. Personnel feedback as well.

- Two complaints were received from VIS and Eskom Kendal Power Station. The complaints were recorded as NC36/2026 and NC37/2026. Both non-conformances were opened and addressed. Personnel feedback was also considered as part of the review of feedback and customer satisfaction.

5. Monitoring and measurement of results, including homogeneity and stability

studies. Assurance of the validity of results.

- The control results for ISO Ash, ISO Moisture, and Quick Ash are trending low. An investigation will be conducted to determine the cause of the trend. The due date for the investigation is 22 October 2026.

- Stability and homogeneity: The stability results are satisfactory.

- CRM Customer Feedback: All CRM buyers are satisfied with the results, and no       negative feedback has been received.

- Assurance of Validity of Results: The validity of results is ensured through the use of controls and control charts to monitor performance and identify trends or deviations.

6.Nonconforming work, corrective and preventive actions.

- All non-conformances (NCs) have been closed. However, NC26 will be further verified during the next bias test. A follow-up date must be set to verify the effectiveness of the corrective actions implemented for NC36/2026 and NC37/2026.

- The corrective and preventive actions for all other closed NCs have been effective, as no recurrence has been observed.

7. Assessment of risks and opportunities.

The risk and opportunities document was reviewed. The following points were discussed:

- Increasing the Number of Technical Signatories: The current scope of work has not increased, and the existing technical signatory can manage the current workload. However, plans are in place to increase the number of technical signatories to improve capacity and ensure continuity of operations.

- Submission of PT Results: Some clients submit PT results via WhatsApp, and they don’t stick on submission timeline. Control: Clients will be encouraged and reminded to submit their results using the designated link to improve the efficiency and consistency of the submission process.

Performance of suppliers and subcontractors.

Adequacy of resources (staff, training, equipment, facilities).

Effectiveness of actions to address risks and opportunities.

Opportunities for improvement/ effectiveness of any implemented

improvements.

Fulfilment of laboratory objectives and targets.

Changes in the volume and type of work undertaken by the laboratory.

Suitability and effectiveness of policies, procedures, and work instructions.

Results of assessments by external bodies (e.g. SANAS, regulators, PT providers,

customers)