Table of Contents

Introduction	2

Scope	2

Purpose	2

Normative/Informative References	2

Normative	2

Informative	2

Definitions	3

Roles and Responsibilities	4

Laboratory Audit Procedure	5

laboratory audit schedule	5

Planning for the laboratory audit	5

Conduct laboratory audit	6

Conduct a follow-up and close-out	7

Audit records	7

Revisions	8

# Introduction

This procedure is developed as a guideline for Azuresky (Pty) Ltd to follow when conducting internal laboratory audits. The objective is to assess for compliance to requirements stipulated as per ISO 17025:2017; ISO 17034:2016; ISO 17043:2023 and other relevant SANAS codes of practice.

## Scope

This procedure details the activities performed when conducting internal laboratory audit. The procedure covers the process to be followed by Azuresky (Pty) Ltd management.

### Purpose

The purpose of this procedure is to describe the requirements for planning, executing audits, establishing records and reporting results of the audits.

## Normative/Informative References

### Normative

ISO 17034:2016: General requirements for the competence of reference material producers

ISO 17043:2023: General requirements for the competence of proficiency testing providers

ISO 17025:2017: General requirements for the competence of testing and calibration laboratories

ISO 19011:2018: Guidance for auditing management systems

### Informative

ISO 9001: 2015 Quality Management Systems – Requirements

## Definitions

Table 1: Definitions

| Definition | Description |
| --- | --- |
| Audit | Systematic, independent and documented process for obtaining audit objective evidence and evaluating it objectively to determine the extent to which the audit criteria is fulfilled |
| Audit criteria | Set of policies, procedures or requirements used as a reference against audit evidence. |
| Audit Evidence | Records, statements of fact or other information which are relevant to the statements to the audit criteria. |
| Audit Conclusion | Outcome of an audit, after consideration of the audit objectives and all audit findings |
| Auditee | Person/Organization being audited. |
| Auditor | Person who conducts the audit. |
| Audit Programme | Description of the activities and arrangements of an audit. |
| Common sample | Sample collected for more than one intended use. |
| Conformity | Fulfilment of a requirement |
| Horizontal Audit | ISO 17025 Management Requirement Assessment |
| Major non conformance | A non-conformance that may have potential impact on the Quality Management System and may reduce its ability to assure the controlled Processes and may have potential impact to the credibility of the final analytical results which may pose a high risk to the business. |
| Minor non conformance | Sporadic lapse in the system caused by not adhering to the standard and procedures at all the times. It may not directly affect the quality of results but when left unattended it can lead to a system failure. |
| Non-Conformity | Non-fulfilment of a requirement. |
| Observation | A statement of fact made during and audit and substantiated by objective evidence |
| Vertical Audit | ISO 17025 Technical Requirement Assessments. |

## Roles and Responsibilities

The roles and responsibility are shown in Table 2 below:

Table 2: Roles and responsibilities

| Role | Responsibility |
| --- | --- |
| Lead auditor | Lead the laboratory compliance audit process. Discuss the outcome of the audit |
| Auditor | Conduct activities as requested and detailed by the Lead auditor |
| Auditee’s contract person | Avail the laboratory for the inspection as detailed by the scope of the audit. Conduct activities and provide data as requested and detailed by the Lead auditor |
| Auditees | Comply with the directives of the Lead auditor and other auditors |

# Laboratory Audit Procedure

Azuresky management shall be responsible for scheduling and performing laboratory audits. The overview of the audit procedure is illustrated below. The management team shall:

- Step 1: plan the audit,

- Step 2: communicate planned audit,

- Step 3: Execute the planned audit and record all non-conformities

- Step 4: Address all non-conformities recorded

- Step 5: Close the audit and share the outcomes of the audit with management.

## laboratory audit schedule

The schedule of the laboratory audit program shall be developed by Management team and reviewed annually or when risks and opportunities that which required continuous evaluation through audits are identified. The audit program shall be documented and signed off by the Operations Manager before the start of each financial year. The audit program schedule shall be documented and shall be readily available on QMTEKLIMS server.

The CAB maintains that the frequency is best managed via the annual plan. The audit plan for the following year must be approved no later than 30th November of the current year.

## Planning for the laboratory audit

The Management team shall establish the laboratory audit objectives and scope. Audit objectives should be consistent with and support the management system policy and its objectives.

Audit objectives shall be based on the following considerations:

- Business risks e.g. legal, contractual and other requirements applicable to the Azuresky (Pty) Ltd;

- Results of the previous audits;

- Process, products and project performance;

Audit Scope shall be based on the Technical and Management Requirements.

The audit shall be notified to all personnel verbally or through production meeting.

The Management team shall discuss and appoint the Lead Auditor.

- The Lead Auditor shall generate the scope of the audit and any requirements to the Auditee at least 24 hours prior to the day of the audit or unless otherwise there is urgent need to conduct the audit with immediate effect.

## Conduct laboratory audit

The Lead Auditor shall on the day of the audit perform the following:

- Conduct the opening meeting

- Introduce the audit team

- Conduct the audit as planned

- Issue non-conformances when they arise. (Hardcopy and/or Emailed copy).

- Conduct the closing meeting and share the findings.

Auditors shall on the day of the audit perform the following:

- Conduct the audit as planned

- Record all non-conformances on the SANAS F03-09 document.

- Classify the non-conformances either as major, minor or observation

- Discuss the outcome of the audit with the Auditee.

- Some of the documents that can be used during the audit include but not limited to SANAS F44, F48. F49, F90, F91, F66,  F176

- The results of the internal audit shall be documented in a comprehensive Internal Audit Results Pack. This pack serves as the official record of the audit and final report to management. The Results Pack consists of:

- SANAS Assessment Forms: Relevant SANAS technical checklist (Including but not limited to F44, F48, F49, F91, F66, and F176) as selected by the auditor based on the scope of the audit, Or any document the auditor deems fit for the scope they are auditing.

- Non-Conformances records (NC): Any non-conformances raised to be documented on the SANAS F03-09

In accordance with ISO 17025 Clause 8.8.2 c, the reporting of results to relevant management is evidenced by the mandatory signatures of the laboratory representative/management on both the F forms and the NC records. The completion and signing of this “Results Pack” concludes the audit cycle and satisfies the requirements for a formal audit report, eliminating the need for a narrative summary.

- NB: Major NC shall be addressed within 7 days; Minor NC shall be addressed within 14 days

## Conduct a follow-up and close-out

- The Auditee shall within the specified time frame provide the Lead Auditor with evidence of the corrective action implemented.

- The Lead Auditor and the audit team members shall assess the suitability of the evidence of the corrective action submitted by the auditee.

- In the event that the provided corrective actions/evidence are suitable then, the non-conformances shall be closed.

- In the event that the implemented corrective actions provided are not suitable, appropriate action shall be taken to address the gap.

- Should the assessment indicate that the corrective actions are not effectively implemented, then the non-conformance(s) will remain open.

- The Lead Auditor shall conduct the close-out sign-off of the non-conformance, indicating the status of the corrective action (Closed/Rejected).

- The copies of non-conformances shall be retained or stored either in hardcopy or softcopy. It is acceptable to store the non-conformances on soft copies or hard copies as long as either the soft copies or the hard copies are easily retrievable during the audits or MRMs.

- The audit results shall be made available at the management review meeting.

## Audit records

- All records of the audit evidence shall be readily available either on hardcopy or softcopy.

# Revisions

| Date | Rev. | Content Changed | Reason for change |
| --- | --- | --- | --- |
| 17/04/2026 | 01 | - The steps in the laboratory audit procedure, step 4 omitted & step 6 amended. - Introductory paragraph omitted, under “Conduct laboratory audit.” - “Attain all signed off non-conformances” amended to “Issue non-conformances when they arise.” - “Record all non-conformances on ASMF 8.7.3 improvement action request.” Amended to “record all non-conformances on the SANAS F03-09 document.” - Some of the documents that can be used during the audit include but not limited to SANAS F44, F48. F49, F90, F91, F66, F176 added under “conduct laboratory audit” - Compile Report section omitted. - Audit records amended to say that all audit evidence shall be made available “either” in soft “or” hard copies. - “It is acceptable to store the non-conformances on soft copies or hard copies as long as either the soft copies or the hard copies are easily retrievable during the audits or MRMs”, added under Conduct a follow up and close out | Simplification of the management system. |
| 20/04/2026 | 02 | Consolidated audit reporting into a “Results Pack” utilizing signed SANAS F forms and F03-09 NC form to ensure objective evidence of management reporting and remove administrative redundancy. | Simplification of the management system. |
| 21/04/2026 | 03 | Addition: Audit plan for the following year must be done by the 30th November 2026. | To prevent a planning vacuum. |