# INTERNAL AUDIT PROGRAMME

## 4. Audit Schedule (May – December 2026)

| Week / Date | Audit Focus Area | ISO 17025 Clauses | Audit Scope & Key Activities | Responsible Auditor | Outputs / Records |
| --- | --- | --- | --- | --- | --- |
| 12 May 2026 | General requirements | 4 & 5 | Impartiality, Risks to impartiality and confidentiality Structural requirements | Lead Auditor | Results pack |
| 13 May 2026 | Resource requirements | 6 | Equipment requirements and metrological traceability, personnel requirements, externally provided services | Lead Auditor | Results pack |
| 14 May 2026 | Process requirements | 7 | 7.1; 7.9; 7.10 & 7.11 | Lead Auditor | Results pack |
| 15 May 2026 | Management system | 8 | All clauses | Lead Auditor | Results pack |
| July 2026 | Documentation, Quality Management & Control of Records | 8.1 – 8.3 | Review Quality Manual, objectives, policies, and control of documents. Verify review, approval, and version control processes. Check accessibility of controlled documents. Evaluate retention, protection, and disposal of records. | Lead Auditor | Results pack |
| August 2026 | Personnel Competence, Training & Impartiality | 6.2, 4.1 | Review competence and authorization records. Check impartiality declarations and conflict-of-interest handling. Interview staff for awareness of QMS, methods, and confidentiality requirements. Evaluate training plans and effectiveness. | Lead Auditor / HR | Audit notes, interview forms |
| September 2026 | Facilities, Equipment & Environmental Conditions | 6.3 – 6.4 | Assess suitability and maintenance of lab facilities. Verify calibration, verification, and maintenance records. Review environmental control logs and calibration traceability. Observe equipment use and handling. | Technical Auditor | Equipment checklist, results pack |
| October 2026 | Testing, Method Validation & Measurement Traceability | 7.2 – 7.8 | Verify method validation, uncertainty, and verification records. Observe sample handling and testing workflow. Review traceability of standards and reference materials. Evaluate data integrity and calculation verification. | Technical Auditor | Observation sheets, NCR forms |
| November 2026 | Customer-related Activities, Reporting & Complaints Handling | 7.1 – 7.10 | Review contract reviews, quotations, and job acceptance forms. Evaluate client communication records and confidentiality handling. Verify test reports for accuracy, authorisation, and data transfer checks. Review of complaint records and corrective actions taken. | Lead Auditor | Results pack, corrective action log |
| December 2026 | Risk Management, Corrective Action & Management Review Preparation | 8.5 – 8.9 | Review risk and opportunity register and updates. Evaluate recent corrective actions for root cause and effectiveness. Verify audit follow-ups and closure of NCRs. Review readiness for Management Review (inputs and outputs). | Quality Manager / Lead Auditor | Risk register, CAPA tracking, results pack |

Disclaimer: This plan will be carried out in accordance with 8.7. internal audits procedure, which serves as the main guideline for conducting audits