## Equipment Register
EQUIPMENT REGISTER
Doc no: 6.3 ER
Compiled by: Tshepo Maponya- Lab Supervisor
Approved by: Sifiso Nyambi- Lab Manager
Equipment ID | Manufacture Name | Description | Serial no | Location | Calibration interval | Calibration Certificates | Last calibration date | Next Calibration date | Status
AS025PA | Adam | Platform Scale | 120330150 | Prep | Annually | Platform Scale Cal Cert | 25/03/2025 | 2026-03-01 | Active
AS0031 | Adam | Top pan balance | ITA2500477 | Prep | Annually | Top Pan Cal Cert | 25/03/2025 | 2026-03-01 | Active
AS2156 | BEL | Analytical balance | AEA90242156 | Analysis Room | Annually | Balance Cal Certificate | 25/03/2025 | 2026-03-01 | Active
AS0096D | Sinometer | Hygrometer | OBS202503-01 | Analysis Room | Annually | Hygrometer Cal Certificate | 25/03/2025 | 2026-03-01 | Active
AS02217 | ATS | Ash Furnace | ATS/210325/74A | Furnace room | Annually | Ash Furnace Cal Cert | 21/03/2025 | 2026-03-01 | Active
AS01338 | ATS | Volatile Furnace | ATS/210325/59V | Furnace room | Annually | VM Furnace Cal Cert | 21/03/2025 | 2026-03-01 | Active
AS3800 | Darvan Brenco | IM drying oven | DOV53A/210325/40 | Analysis room | Annually | IM Oven Cal Cert | 21/03/2025 | 2026-03-01 | Active
AS00110 | Micron | Mass pieces | OB WSA.1R | Analysis room | Annually | Mass Pieces Cal Certificate | 17/03/2025 | 2026-03-01 | Active
AS8501 | Sinometer | Probe and thermometer | OBS T1.1a+b | Manager’s office | Annually | T1 40 & 107 | 14/03/2025 | 2026-03-01 | T1 815 & 900- Active
AS8284 | Sinometer | Probe and thermometer | OBS T2.1a+b | Manager’s office | Annually | T2 40 & 107 | 26/03/2025 | 2026-03-01 | T2 815 & 900- Active
AS00111 | Mokopoledi | B Drying oven | LZ 007/07/10 | Prep area | Annually |  |  |  | Inactive
AS8501 | Mokopoledi | Drying oven | NE-002-MO | Prep area | Annually |  |  |  | Inactive
AS022PA | Energy Instrumentation | CV Calorimeter | TPAD924644 | Analysis Room | When Necessary | - | - | - | Active
- | Energy Instrumentation | Bomb Vessel | 467/1 | Analysis Room | When Necessary | - | - | - | Active
- | Energy Instrumentation | Bomb Vessel | 468/2 | Analysis Room | When Necessary | - | - | - | Active
AS8284 | Mega Size | 25mm Crusher | - | Prep area | Not Applicable | - | Not Applicable | Not Applicable | Active
AS8809 | Mega Size | 10mm Crusher | - | Prep area | Not Applicable | - | Not Applicable | Not Applicable | Active
AS5935 | Mega Size | 3mm Crusher | - | Prep area | Not Applicable | - | Not Applicable | Not Applicable | Active
AS2129H | Mega Size | Homogenizer | - | Prep area | Not Applicable | - | Not Applicable | Not Applicable | Active
AS021PA | Mokopoledi | Pulverizer | AS021P | Prep area | Not Applicable | - | Not Applicable | Not Applicable | Active
AS7WET4 | Mokopoledi | Pulverizer | AS7WET4 | Prep area | Not Applicable | - | Not Applicable | Not Applicable | Active
| Mokopoledi | Pulverizer |  | Prep area |  | - |  |  | Inactive
AS00111 | CTS(Ningbo) Testing Service technology | Hygrometer |  | Storage Room | Annually |  |  |  | Active
Note: The maintanance and repairs of equipments are logged on Maintanance and Breakdown Book which is available on request
Calibration: Calibration of furnace, balances and ovens will be done on a yearly basis and the calibration mass pieces will be done every two years