Table of Contents

1. Purpose	1

2. Scope	1

3. Responsibility	2

4. Review of Requests and Contracts	2

4.2 Capability Assessment (7.1.2)	2

5. Deviations and Decision Rules	3

6. Contract Amendments	3

7. Subcontracting Considerations	3

8. Communication with Customers	4

9. Records	4

10. PT and CRM Activities	4

## 1. Purpose

To ensure that all requests, tenders and contracts for testing, sampling, proficiency testing (PT) and reference material (RM/CRM) activities are reviewed prior to acceptance to confirm that the laboratory has the capability, resources and authority to perform the work in compliance with ISO/IEC 17025:2017.

## 2. Scope

This procedure applies to:

- Routine and non-routine testing

- Sampling activities

- Proficiency testing scheme coordination

- Reference material / certified reference material production

## 3. Responsibility

- Managing Director: Final approval of contracts

- Laboratory Manager: Verification of compliance and records/ Technical capability confirmation.

## 4. Review of Requests and Contracts

4.1 Review Prior to Acceptance

Before accepting any work, the laboratory shall confirm and document by making use of the contract review checklist (ASMF4.1.2) :

a) Customer requirements are clearly defined and understood
b) Appropriate test, sampling or characterization methods are available and validated
c) The laboratory has:

- competent personnel

- suitable equipment

- adequate facilities
d) For PT/CRM work:

- scheme design or value assignment strategy is defined

- statistical approach (e.g. Algorithm A) is appropriate

## 4.2 Capability Assessment (7.1.2)

Capability review shall include evaluation of:

- Technical competence

- Measurement uncertainty requirements

- Sampling responsibilities (where applicable)

- Safety, handling and logistics

- Timeframes and workload

Work shall not be accepted if capability cannot be demonstrated.

## 5. Deviations and Decision Rules

Any deviation from:

- standard methods

- agreed sampling plans

- PT/CRM protocols

shall be:

- technically justified

- approved by the Operations Manager

- formally agreed with the customer in writing

Decision rules relevant to the work (pass/fail, conformity, PT evaluation criteria) shall be defined and communicated before commencement.

## 6. Contract Amendments

Changes to accepted contracts (scope, methods, timelines, responsibilities) shall:

- undergo re-review

- be approved by authorized personnel

- be communicated to all affected parties

- be recorded

## 7. Subcontracting Considerations

Where subcontracting is required:

- technical competence of the subcontractor shall be confirmed

- customer approval shall be obtained

- responsibilities shall be clearly defined

## 8. Communication with Customers

The laboratory shall inform customers of:

- deviations

- delays

- changes affecting results

- limitations impacting validity

## 9. Records

Records retained shall include:

- request details

- review outcomes

- approvals

- deviations

- amendments

- customer communications

Records shall be retained in accordance with document control procedures.

## 10. PT and CRM Activities

Requests related to PT schemes and RM/CRM production shall be treated as contracts and reviewed to ensure:

- scheme design feasibility

- traceability strategy

- homogeneity and stability plans

- statistical treatment suitability