Calibration log

# Master Equipment Calibration Register

| Equipment ID | Description | Serial no | Location | Calibration interval | Last calibration date | Next Calibration date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Platform Scale | 120330150 | Prep | Annually | 25/03/2025 | March 2026 | Active |
| AS0031 | Top pan balance | ITA2500477 | Prep | Annually | 25/03/2025 | March 2026 | Active |
| AS2156 | Analytical balance | AEA90242156 | Analysis Room | Annually |  |  | Active |
|  | Hygrometer | OBS202503-01 | Analysis Room | Annually | 25/03/2025 | March 2026 | Active |
| AS02217 | Ash Furnace | ATS/210325/74A | Furnace room | Annually | 21/03/2025 | March 2026 | Active |
| AS01338 | Volatile Furnace | ATS/210325/59V | Furnace room | Annually | 21/03/2025 | March 2026 | Active |
| AS3800 | IM drying oven | DOV53A/210325/40 | Analysis room | Annually | 21/03/2025 | March 2026 | Active |
| OB WSA.1R | Mass pieces | NA | Analysis room | Annually | 17/03/2025 | 31 March 2026 | Active |
| OBS T1.1a+b | Probe and thermometer | S1208105 | Manager’s office | Annually | 14/03/2025 | March 2026 | Active |
| OBS T2.1a+b | Probe and thermometer | S1237965 | Manager’s office | Annually | 26/03/2025 | March 2026 | Active |
| AS00111 | B Drying oven | LZ 007/07/10 | Prep area | Annually |  |  |  |
| AS8501 | Drying oven | NE-002-MO | Prep area | Annually |  |  |  |