MEASUREMENT PROCEDURES

Objective

To ensure that all measurement procedures used in the production and characterization of proficiency testing samples and reference materials (RMs/CRMs) are fit for purpose, scientifically valid, traceable, and consistently applied.

# Selection of Measurement Procedures

- Use procedures that are:

- Technically appropriate for the property being measured (e.g. ISO 1928 for CV, ISO 562 for Volatile, ISO 1171 for ash etc.)

- Internationally recognised standards such as ISO, ASTM, SANAS endorsed etc.

- Validated in-house if they are not internationally recognised

# Validation of Methods

- Validation evidence must be available for each method used in the production or characterisation.

- The validation should cover things like: Accuracy, Precision (repeatability and reproducibility), Limit of detection (if applicable), linearity, Robustness and Ruggedness

- In-house methods must include detailed SOPs and full method validation reports

# Documentation of Procedures

- Each method must be documented as SOP and should include:

- Scope and applicability

- Equipment and materials required

- Step-by-step method

- Calibration requirements

- Quality control checks

- Safety considerations

# Application during PT & RM Production

- Apply selected and validated measurement procedures consistently throughout

- Homogeneity testing

- Characterisation

- Stability studies

ALL PROCEDURES MUST BE FOLLOWED EXACTLY AS WRITTEN; ANY DEVIATIONS MUST BE RECORED AND JUSTIFIED

# Control of Measurement Quality

- Use quality control measures such as : Reference standards or internal controls, control charts or duplicate analysis, calibration checks.

- Regularly evaluate method performance and investigate trends and outliers

# Link to Measurement Uncertainty

- Each method must support estimation of measurement uncertainty

- Procedure should include identification of significant uncertainty contributors, such as repeatability, weighing errors, environmental effects.