Contents

1. Purpose	2

2. Application	2

3. Responsibilities	2

4. Frequency	2

5. Inputs	3

6. Identification and Logging of Improvements	4

7. Records	5

8. References	5

9.	Revisions	5

## 1. Purpose

To define the process for conducting management reviews to ensure the continued suitability, adequacy, and effectiveness of the management system, and to verify compliance with ISO 17034:2016, ISO 17043, and ISO/IEC 17025:2017.
This procedure also defines how improvement opportunities arising from management reviews are identified, documented, and monitored.

## 2. Application

This procedure applies to all management system activities of Azuresky (Pty) Ltd as a Reference Material Producer (RMP) and Proficiency Testing Scheme Provider. It also covers the requirements of ISO 17025.

## 3. Responsibilities

• Top Management: Chairs the management review meeting, ensures improvement opportunities are identified, and approves outputs and action plans.
• Laboratory Manager: Organizes and records the management review meeting, maintains the Management Review Action Register, and ensures follow-up of improvement actions.
• Laboratory Supervisor: Provides input on technical performance and resource needs and implements assigned improvement actions.

## 4. Frequency

Management reviews shall be conducted at least once per year. Additional reviews may be held when significant changes occur.

## 5. Inputs

The management review shall include, but is not limited to, the following agenda items:

- Status of actions from previous management reviews.

- Changes in internal and external issues relevant to the management system (e.g. revised regulations, SANAS requirements).

- Results of internal and external audits (including nonconforming work and corrective and preventive actions).

- Complaints, feedback, and customer satisfaction. Personnel feedback as well.

- Monitoring and measurement of results, including homogeneity and stability studies. Assurance of the validity of results.

- Nonconforming work, corrective and preventive actions.

- Assessment of risks and opportunities.

- Performance of suppliers and subcontractors.

- Adequacy of resources (staff, training, equipment, facilities).

- Effectiveness of actions to address risks and opportunities.

- Opportunities for improvement/ effectiveness of any implemented improvements.

ADDED (to address missing minimum agenda points):
12. Fulfilment of laboratory objectives and targets.
13. Changes in the volume and type of work undertaken by the laboratory.
14. Suitability and effectiveness of policies, procedures, and work instructions.
15. Results of assessments by external bodies (e.g. SANAS, regulators, PT providers, customers).

## 6. Identification and Logging of Improvements

• During the management review meeting, improvement opportunities shall be identified from analysis of the inputs listed above (e.g. audit findings, performance trends, complaints, risk assessments, and resource evaluations).
• All identified improvement opportunities shall be recorded in the Management Review Minutes and entered into a Management Review Action Register or equivalent controlled record.
• Each improvement action shall include:
– a clear description of the improvement required,
– the source of the improvement (e.g. audit result, complaint, trend analysis),
– the responsible person,
– a target completion date, and
– the method for verifying effectiveness.

- Prior to sign-off, the authorising signatory shall verify that each action recorded in the Management review Action Register is complete, ensuring that a responsible person and a target completion date have been assigned to all logged improvement actions.
• Progress on logged improvement actions shall be reviewed at subsequent management review meetings or during routine management system monitoring.

ADDED (to address decisions and effectiveness of the management system):
• Management review outputs shall include decisions and actions related to:
– improvement of the effectiveness of the management system,
– improvement of laboratory activities, and
– resource needs.
• Conclusions on the continued suitability, adequacy, and effectiveness of the management system shall be recorded in the Management Review Minutes.

## 7. Records

• The Laboratory Supervisor/Manager shall prepare Management Review Minutes/Reports documenting discussions, decisions, identified improvements, actions, responsible persons, and deadlines.
• A Management Review Action Register (or equivalent) shall be maintained as evidence that improvement actions are identified, logged, implemented, and monitored.
• All records shall be controlled in accordance with procedure 7.16 Control of Quality & Technical Records.

ADDED (to address lack of minutes and verification):
• Management Review Minutes shall record all required agenda items, decisions taken, and assigned actions.
• Completed minutes and action registers shall be retained as objective evidence for internal audits and external assessments.

## 8. References

• ISO 17034:2016, Clause 8.6 (Management Review)
• ISO/IEC 17025:2017, Clause 8.9 (Management Review)
• ISO 17043:2023, Clause 8.6 (Management Review)
• 7.16 Control of Quality & Technical Records

## Revisions

| Revision no | Content changed | Reason for revision |
| --- | --- | --- |

| Section | Addition |
| --- | --- |
| 5 (Inputs) | Added fulfilment of objectives, changes in volume/type of work, suitability of procedures, and external assessments |
| 6 (Improvements) | Added requirement for decisions on system effectiveness and resources |
| 7 (Records) | Added requirement for minutes and retention as objective evidence |
| 6 (improvements) | Added requirement for review of management review action register before sign-off. |