# Introduction

Reference: ISO/IEC 17043:2023 Clause 7.5.3

This is ensure validity of the PT scheme to benefit in terms of information on the comparability of test or measurement methods, benchmarking against other PT scheme or RM producers, etc

## Personnel involved

The personnel involved include the Laboratory Supervisor, Laboratory Manager, and Operations Manager. Each plays a defined role in planning, sample preparation (in terms of questionnaire), quality control, and reporting.

Role; Name; Job descrtiption. Lead Assessor; Laboratory Supervisor or Laboratory Manager or Operations Manager May each perform the role interchangeably.. Technical Assessor; Laboratory Supervisor or Laboratory Manager or Operations Manager May each perform the role interchangeably.. Observer (optional); Trainee or support.

## External providers

All activities for the production, packaging, verification, and PT/CRM production are conducted internally. No outsourced or subcontracted work is used. This part will be excluded from surveillance of processes.

## Participation criteria

Participation is open to laboratories that are competent and/or accredited in accordance with ISO/IEC 17025, calibration laboratories and inspection bodies that apply internationally recognized coal analysis standards as outlined in the PT instruction form.

## Number and type of expected participants

Participation is at least expected from 10 participants or more. A bigger sample of participants will provide a wide and valuable feedback as opposed to a smaller sample.

## Description of activities and results to be reported

Microsoft link forms shall be developed with a set of questions, at least up to five (5) maximum. Surveillance process is a continuous requirement to be planned and reviewed. Therefore necessary questions may be included in the next round of surveillance plan, if five number of questions have been exceeded. A shorter number of questions shall be envisaged to enable a participant to spent less time answering questions.

Questions that seek surveillance of the following topic and more if need be, shall be formulated: This assessment shall be performed in six months of the year, collecting data from different participants.

- use of Azuresky reference materials;

- the transmission of results from participants;

- control of statistical conditions to confirm the validity of performance evaluation;

- checking of reports;

- comparisons against previous PT rounds.

## Surveillance of processes schedule (November 2025 – April 2026)

| Week / Date; Audit Focus Area; ISO 17043 Clauses; Audit Scope & Key Activities; Responsible Auditor; Outputs / Records. Week: 17–21 Nov 2025; Transmission of results from participants; 7.4.3; Assess the difficulty to input data/analysis results using Microsoft link form; Lead Assessor; List of feedback answers. Week: 10–14 Dec 2025; Checking reports; 7.4.3; Review the correctness of the report Assess the understanding of participants interpretation of the report; Lead Assessor; List of feedback answers. Week: 17–21 Feb 2026; Control of statistical conditions to confirm the validity of performance evaluation; 7.4; Assess methods for controlling errors. etc; Lead Assessor; List of feedback answers. Week: 24–28 Mar 2026; Comparisons against previous PT rounds; 8.6; Assess time schedule adherence by the participant Assess the number of participants, etc; Lead Assessor; List of feedback answers. Week: 01–05 Apr 2026; Use of Azuresky reference materials; 17034; Assess stability, etc; Lead Assessor; List of feedback answers. |  |
| --- | --- |

## 5. Reporting and Closure

Assessment reports shall be issued within 10 working days of completion. Corrective actions assigned to responsible personnel with deadlines. Summary of findings presented at the next Management Review meeting.