## 1. Purpose

To define the process for the packaging, dispatch, receipt and delivery confirmation of Proficiency Testing (PT) items in order to ensure traceability and integrity of PT samples in accordance with SANAS F 91-04 and ISO/IEC 17043.

## 2. Scope

This procedure applies to all PT items prepared and distributed to participants in all PT schemes administered by the laboratory.

## 3. Responsibilities

- PT Scheme Manager

  - Authorises release of PT items for dispatch.

  - Ensures implementation of this procedure.

- Technical Personnel

  - Package and label PT items for dispatch.

- Participants

  - Acknowledge receipt of PT items by email and report any damage or discrepancies.

## 4. References

- ISO/IEC 17043

- SANAS F 91-04

## 5. Definitions

- PT Item: Sample distributed for proficiency testing.

- Participant: Laboratory enrolled in the PT scheme.

## 6. Procedure

### 6.1 Preparation of PT Items

- PT items shall be prepared according to the approved PT production procedure.

- Homogeneity testing shall be completed and found acceptable prior to dispatch.

- Each PT item shall be assigned a unique sample code and labelled with:

  - Sample code

  - “For Proficiency Testing Only”

### 6.2 Packaging

- PT items shall be packaged to prevent damage, contamination, or loss of integrity during transportation.

- Packaging shall consist of:

  - Primary container (sample bottle).

  - Secondary protection (bubble wrap or equivalent cushioning material).

  - Outer packaging suitable for courier transport.

- Packaging shall be appropriate for the nature of the PT material.

### 6.3 Transport and Dispatch

- PT items shall be dispatched to participants using a courier service.

- Due to practical limitations, individual courier tracking is not performed.

- Based on historical PT round data and demonstrated reproducibility of participant results, the effects of transportation on PT item integrity are considered negligible.

- It is acknowledged that the PT Provider cannot control handling and storage conditions during transportation; however, appropriate packaging is used to minimise foreseeable risks.

### 6.4 Delivery Confirmation

- Delivery confirmation shall be obtained by participant acknowledgement of receipt via email.

- Participants shall be instructed to confirm receipt of PT items within a specified timeframe (e.g. 48 hours).

- Email acknowledgements shall serve as the sole record of delivery confirmation.

### 6.5 Participant Receipt

- Upon receipt of PT items, participants shall:

  - Verify the sample code(s).

  - Inspect the packaging for damage or leakage.

- Any of the following shall be reported immediately to the PT Provider by email:

  - Damaged samples

  - Missing samples

  - Incorrect labelling

- Participants shall store PT items under normal laboratory conditions until analysis, unless otherwise instructed.

## 7. Records

The following record shall be retained:

- Participant email acknowledgements of receipt

No courier tracking records or delivery notes are required.

## 8. Nonconforming Situations

- The following situations shall be treated as nonconforming:

  - Participant reports damage or compromised sample integrity.

  - Participant does not receive PT items.

- Such cases shall be:

  - Recorded,

  - Assessed for impact on the PT round, and

  - Managed in accordance with the nonconforming work procedure.

## 9. Risk Considerations

- Transport risk is evaluated based on:

  - Stability of the PT material, and

  - Historical reproducibility of PT results.

- Where evidence indicates that transport may influence PT results, additional controls shall be implemented.