# Laboratory Declaration on Auto Transfer and Manual Data Entry

Document Title: Declaration on Data Transfer Methods

Document Number: ASD001

Effective Date: 01 August 2025

Compiled by: Laboratory Supervisor          	Signature:   _______________________________________

## Purpose

This declaration clarifies the laboratory’s position and procedures regarding the transfer of mass data into the Laboratory Information Management System (LIMS) or equivalent recording systems.

## Statement

The laboratory prioritises and promotes the use of auto transfer of mass data from measurement equipment into the LIMS.

This practice is documented in all relevant Standard Operating Procedures (SOPs) and is applied wherever technically feasible to minimise transcription errors and improve efficiency.

If auto transfer is unavailable due to equipment malfunction, connectivity issues, or other technical limitations, the laboratory will make use of manual data entry as a controlled alternative.

All manual entries shall:
   - Be clearly marked as “Manual Entry” in the system where possible.
   - Be double-checked and verified by a second authorised person.
   - Follow the lab’s documented Manual Data Entry and Verification Procedure.

Manual entry is a temporary contingency measure and does not replace the primary method of auto transfer.

This policy ensures integrity, traceability, and accuracy of recorded data in compliance with SANAS requirements and relevant quality management standards.

## Annual Review

This declaration will be reviewed annually when significant changes to data transfer processes occur.

Approved By:

Name: Sifiso Nyambi

Designation: Laboratory Manager

Signature: _________________________

Date: 04/08/2025