Procedure: Identification and Review of Applicable Requirements

## 1. Purpose

To ensure that Azuresky (Pty) Ltd identifies, understands, and complies with:
a) the requirements of applicable standards,
b) customer requirements,
c) regulatory and statutory requirements, and
d) requirements of organisations providing recognition (e.g. SANAS), before accepting and performing laboratory activities.

## 2. Scope

This procedure applies to all laboratory activities, including testing, proficiency testing scheme activities, reference material production, and externally provided services.

## 3. Sources of Requirements

## 3.1 Standard Requirements

The laboratory operates a management system aligned with the following standards:
• ISO/IEC 17025:2017
• ISO/IEC 17034:2016
• ISO/IEC 17043:2023

Applicable test methods include, but are not limited to:
• ISO 1171 (Ash)
• ISO 562 (Volatile Matter)
• ISO 1928 (Calorific Value)
• ISO 13909-4 (Sample Preparation)
• SANS 5925 (MIAS)

The laboratory ensures current editions of all applicable standards are available and controlled.

## 3.2 Customer Requirements

Customer requirements may include:
• test methods to be used
• turnaround times
• reporting formats
• decision rules
• sample handling requirements
• confidentiality requirements

Customer requirements are confirmed through:
• quotations
• contracts or purchase orders
• sample submission forms
• written instructions or specifications

No work shall commence until customer requirements are reviewed and confirmed.

## 3.3 Regulatory and Statutory Requirements

Applicable regulatory requirements may include, but are not limited to:
• occupational health and safety legislation
• environmental legislation
• transport and handling of hazardous materials
• industry-specific fuel or mining regulations

The Operations Manager is responsible for identifying and maintaining awareness of relevant regulatory obligations affecting laboratory operations.

## 3.4 Requirements of Organisations Providing Recognition

Where applicable, the laboratory considers the requirements of organisations providing recognition, including:
• SANAS accreditation criteria
• SANAS rules for claims of conformity and use of symbols
• SANAS R-series and TR documents
• sector-specific technical requirements

These requirements are used as guidance for system development and shall not be represented as accreditation until formal recognition is granted.

## 4. Review of Requirements

Before accepting work, the laboratory shall verify that:
• the requested method is available and suitable
• personnel are competent
• equipment and facilities are adequate
• applicable standards are available
• regulatory constraints are understood
• customer reporting requirements are clear

Any differences between customer requirements and standard methods shall be resolved and agreed in writing prior to testing.

## 5. Communication of Requirements

Relevant requirements shall be communicated to:
• technical staff (methods and controls)
• quality personnel (system requirements)
• customers (scope and limitations)
• external providers (where applicable)

## 6. Control of Changes

When changes occur to:
• standards
• customer requirements
• regulatory requirements
• recognition body requirements

the Operations Manager shall assess the impact and implement necessary updates to procedures, methods, or records.

## 7. Records

The following records shall be maintained:
• contract review or job acceptance records
• controlled standards register
• customer communications
• regulatory requirement register (where applicable)
• external provider evaluations

## 8. Responsibility

The Laboratory Manager is responsible for:
• ensuring this procedure is implemented
• ensuring relevant requirements are identified
• preventing acceptance of work outside laboratory capability
• ensuring no false claims of accreditation or recognition are made

## 9. Compliance Statement

Azuresky (Pty) Ltd ensures that laboratory activities are planned and performed in accordance with:
• applicable international and national standards
• agreed customer requirements
• relevant regulatory obligations
• applicable requirements of organisations providing recognition

This ensures technical validity, legal compliance, and transparency of laboratory operations.