Extension of Application – ISO/IEC 17025 Activities

In addition to proficiency testing and reference material production activities, this procedure shall also apply to non-conforming work arising from ISO/IEC 17025 laboratory activities, including but not limited to:

- Testing and calibration activities

- Sampling activities\

- Handling of test items

- Application of test or calibration methods

- Calculation, verification, and reporting of results

- Equipment use and calibration status

- Environmental conditions affecting results

- Additional Scope (ISO/IEC 17025 Context)

This procedure also applies to:

• Invalid or suspect test or calibration results

• Use of uncalibrated or malfunctioning equipment

- Failure to follow approved methods or SOPs

- Environmental conditions outside specified limits

- Incorrect, incomplete, or unauthorised test reports

- Staff competency or authorisation failures

- Data integrity or transcription errors

Additional Responsibilities (ISO/IEC 17025 Context)

Role | Responsibility

Technical Manager/ Laboratory Supervisor : Assess technical validity of affected test/calibration results and decide on re-testing or re-sampling

Laboratory Manager: Ensure compliance with ISO/IEC 17025 clauses 7.10 and 8.7 and ensure records are maintained

Lab Manager: Authorise suspension of testing where result validity is in question

Additional Procedure – ISO/IEC 17025 Nonconforming Work Handling

- Identification of ISO/IEC 17025 Nonconforming Work

Nonconforming work may be identified from:

- QC failures or control chart breaches

- Failed method verification or validation checks

- Proficiency testing failures

- Equipment calibration out-of-tolerance results

- Deviations from approved test methods

- Review of test reports prior to release

- Complaints related to test/calibration results

- Immediate Actions (ISO/IEC 17025 Context)

In addition to Section 5:

- Suspend testing or calibration activities where result validity may be compromised

- Quarantine affected test items or data

- Prevent release of affected reports

- Identify and segregate all work potentially affected

- Evaluation of Impact on Results

The evaluation shall determine whether:

- Previously reported test/calibration results are invalid

- Customers require notification

- Results require withdrawal, amendment, or reissue

- Re-sampling or re-testing is required

- Accreditation scope is affected

D. Customer Notification (ISO/IEC 17025 Context)

Where nonconforming work affects reported results:

- Customers shall be notified in writing without undue delay

- The notification shall include:

- Description of the nonconformity

- Impact on reported results

- Proposed corrective action

- Options for re-testing or re-sampling

E. Authorization to Resume Work

Testing or calibration activities shall only resume once:

- Root cause has been identified

- Corrective actions have been implemented

  - Effectiveness has been verified

  - Authorization has been granted by the Laboratory Manager or Technical Manager

Additional Documentation Requirements (ISO/IEC 17025 Context)

The Improvement Action Request Form shall also include:

- Identification of affected test/calibration reports

- Decision on validity of results

- Customer notification date

- Authorization to resume work

- Technical Manager approval

Risk-Based Thinking (ISO/IEC 17025 Context)

Nonconforming work related to ISO/IEC 17025 activities shall be evaluated for:

- Risk to result validity

- Risk to customer confidence

- Risk to accreditation status

- Risk of recurrence

Risks shall be recorded in the risk register and reviewed during management review.

Records (ISO/IEC 17025 Context)

Records shall include:

- NCW records for test and calibration activities

- Impact assessments

- Customer notifications

- Amended or withdrawn reports

- Corrective action records

Records shall be retained in accordance with Section 10 and the record control procedure.