## Sheet1
Process / Area | Potential NC | Severity | Risk Level | NC Classification | Preventive / Mitigating Action
Sample Receipt & Registration | Mislabeling or incorrect sample ID | High | Critical | Major | Double-check system, barcode scanning, staff training
Sample Receipt & Registration | Missing or incomplete documentation | Medium | High | Major | Checklist for sample submission; SOP enforcement
Sample Receipt & Registration | Sample received outside acceptance criteria | High | Critical | Major | Sample acceptance SOP, immediate notification to client
Sample Preparation / Homogenising | Cross-contamination between samples | High | Critical | Major | Dedicated equipment, cleaning SOP, staff training
Sample Preparation / Homogenising | Inaccurate aliquoting / weighing | Medium | High | Major | Calibrated equipment, SOP adherence, peer review
Sample Preparation / Homogenising | Degradation due to improper handling | Medium | Medium | Minor | Time limits, temperature control, SOP enforcement
Sample Packaging & Storage | Incorrect storage conditions | High | Critical | Major | Storage logs, temperature monitoring, alarms
Sample Packaging & Storage | Sample misplacement / lost | High | Critical | Major | Inventory management, tracking system, secure storage
Sample Packaging & Storage | Contamination due to inappropriate packaging | Medium | High | Major | SOP for packaging, QC checks before storage
Analysis / Testing | Use of expired or uncalibrated reagents / standards | High | Critical | Major | Calibration log, expiry checks, QC sample inclusion
Analysis / Testing | Incorrect instrument settings or method deviation | High | Critical | Major | SOP adherence, peer checks, audit trail
Analysis / Testing | Analytical error not detected | High | Critical | Major | Internal QC, repeat analysis, review by senior analyst
Analysis / Testing | Data transcription errors | Medium | High | Major | Electronic LIMS, double data entry, review SOP
Data Review & Reporting | Reporting incorrect units / results | Medium | High | Major | Peer review of reports, templates for report generation
Data Review & Reporting | Delayed reporting beyond agreed timelines | Low | Medium | Minor | Tracking system, automated reminders
Data Review & Reporting | Failure to flag NC data | High | Critical | Major | SOP for NC identification, staff training
QMS | Incomplete SOPs or outdated documents | Medium | High | Major | Document control, periodic review, internal audits
QMS | Records not properly maintained | Medium | High | Major | Controlled filing system, LIMS backup, periodic audit
QMS | Non-conformities not addressed / closed | High | Critical | Major | Corrective action tracking, management review
QMS | Internal audit findings not implemented | Medium | High | Major | CAPA follow-up, management accountability
Equipment / Calibration / Maintenance | Uncalibrated or poorly maintained instruments | High | Critical | Major | Calibration schedule, maintenance logs, QC checks
Equipment / Calibration / Maintenance | Equipment failure during analysis | High | Critical | Major | Preventive maintenance, backup instruments
Health, Safety & Environment | Improper PPE / unsafe handling | Medium | High | Major | Staff training, SOP enforcement, safety audits
Health, Safety & Environment | Chemical spills / contamination | High | Critical | Major | Spill management SOP, emergency response training
Health, Safety & Environment | Waste mismanagement | Medium | Medium | Minor | Waste handling SOP, periodic review