CONTROL ANALYSIS INH MOISTURE AND VOLATILES

| DATE: |  | TIME |  |  | DATE: |  | TIME: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyst | # Inherent moisture |  |  |  | Analyst | Volatiles |  |  |  |
|  | original |  | duplicate |  |  | original |  |  | duplicate |
| mass: dish |  |  |  |  | mass: dish |  |  |  |  |
| mass: dish + coal |  |  |  |  | mass: dish + coal |  |  |  |  |
| mass: dried coal |  |  |  |  | mass: dried coal |  |  |  |  |
| % inherent moisture |  |  |  |  | % Volatiles |  |  |  |  |
| ave. inherent moisture |  |  |  |  | ave. Volatiles |  |  |  |  |
| Balance no. |  |  |  |  | Balance No. |  |  |  |  |
| DATE: |  | TIME |  |  | DATE: |  | TIME: |  |  |
| Analyst | # Inherent moisture |  |  | Analyst |  | Volatiles |  |  |  |
|  | original |  | duplicate |  |  | original |  |  | duplicate |
| mass: dish |  |  |  |  | mass: dish |  |  |  |  |
| mass: dish + coal |  |  |  |  | mass: dish + coal |  |  |  |  |
| mass: dried coal |  |  |  |  | mass: dried coal |  |  |  |  |
| % inherent moisture |  |  |  |  | % Volatiles |  |  |  |  |
| ave. inherent moisture |  |  |  |  | ave. Volatiles |  |  |  |  |
| Balance no. |  |  |  |  | Balance No. |  |  |  |  |
| DATE: |  | TIME |  |  | DATE: |  | TIME: |  |  |
| Analyst | # Inherent moisture |  |  |  | Analyst | Volatiles |  |  |  |
|  | original |  | duplicate |  |  | original |  | duplicate |  |
| mass: dish |  |  |  |  | mass: dish |  |  |  |  |
| mass: dish + coal |  |  |  |  | mass: dish + coal |  |  |  |  |
| mass: dried coal |  |  |  |  | mass: dried coal |  |  |  |  |
| % inherent moisture |  |  |  |  | % Volatiles |  |  |  |  |
| ave. inherent moisture |  |  |  |  | ave. Volatiles |  |  |  |  |
| Balance no. |  |  |  |  | Balance No. |  |  |  |  |
| ## CALCULATION % INHERENT MOISTURE = M2 – M3 x 100 M2 – M1 1 WHERE: M1 = Mass of dish M2 = Mass of dish with coal M3 = Mass of dish with dried coal |  |  |  |  | ## CALCULATION % VOLATILE (INH. H2O INCLUDED) = M2 – M3 x 100 M2 – M1 1 WHERE: M1 = Mass of crucible M2 = Mass of crucible with coal M3 = Mass of crucible with burnt coal |  |  |  |  |