LABORATORY RELATIVE HUMIDITY AND TEMPERATURE RECORDING

Date: ________________________							 Location:  Laboratory

| TIMES READINGS TAKEN | READINGS TAKEN BY |
| --- | --- |
| Temp. (0C) | SPECIFICATIONS: 19-26 | ACTUAL READING |  |  |  |
| RH (%) | SPECIFICATIONS: 25-60 | ACTUAL READING |  |  |  |
| Temp. (0C) | SPECIFICATIONS: 19-26 | ACTUAL READING |  |  |  |
| RH (%) | SPECIFICATIONS: 25-60 | ACTUAL READING |  |  |  |
| Temp. (0C) | SPECIFICATIONS: 19-26 | ACTUAL READING |  |  |  |
| RH (%) | SPECIFICATIONS: 25-60 | ACTUAL READING |  |  |  |

Shift Supervisor sign: _____________

Revision table

| Content changed | Reason | Date |
| --- | --- | --- |
| Humidity changed from 25-45% to 25-60% | Initial humidity values were provisional, practical work revealed that the initial conditions could not be fulfilled. | 12/2025 |