DAILY BALANCE VERIFICATION FORM

| Equipment number: | AS00A31 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month: | 1.0000 g | 5.0000 g | 10.0000g | 20.0000g | 50.0000g | 100.0000 g | 5.00 kg | Done by | Supervisor signature | Comments |
| Date | + 0.0002g | + 0.0003g | +0.0005g | + 0.0006g | +0.0005g | + 0.00010g | +0.05 |  |  |  |

ACTION

-      Tolerance limits exceeded 3 times successively

- Action limit exceeded