DAILY BALANCE VERIFICATION FORM

| Equipment number: | AS2156 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month: | 0.5000g | 1.0000 g | 5.0000 g | 10.0000g | 20.0000g | Done by | Supervisor signature | Comments |
| Date | + 0.0005g | + 0.0002g | + 0.0003g | +0.0005g | + 0.0006g |  |  |  |

ACTION

- Tolerance limits exceeded 3 times successively

- Action limit exceeded

Revision Table

| Content changed | Reason for change | Date |
| --- | --- | --- |
| 50.0000g, 100.0000g and 5.00kg mass verification have been removed | Masses are not within the working range of the analytical balance. | 06/2026 |