LABORATORY RELATIVE HUMIDITY AND TEMPERATURE RECORDING

Date: ________________________							 Location: Storage Room

| TIMES READINGS TAKEN | READINGS TAKEN BY |
| --- | --- |
| Temp. (0C) | SPECIFICATIONS: 16-20 | ACTUAL READING |  |  |  |
| RH (%) | SPECIFICATIONS: 25-60 | ACTUAL READING |  |  |  |
| Temp. (0C) | SPECIFICATIONS: 16-20 | ACTUAL READING |  |  |  |
| RH (%) | SPECIFICATIONS: 25-60 | ACTUAL READING |  |  |  |
| Temp. (0C) | SPECIFICATIONS: 16-20 | ACTUAL READING |  |  |  |
| RH (%) | SPECIFICATIONS: 25-60 | ACTUAL READING |  |  |  |

N/B: READINGS TO BE RECORDED ON MONDAY AND FRIDAY EVERY WEEK, HOWEVER, PERSONNEL ARE TO CHECK VISUALLY THE ENVIRONMENTAL CONDITIONS FOR COMPLIANCE AT LEAST THREE TIMES PER SHIFT AT INTERVALS. IF OUT OF SPEC REPORT TO SUPERVISOR.

Shift Supervisor sign: _____________

Revision table

| Content changed | Reason | Date |
| --- | --- | --- |
| Humidity changed from 25-45% to 25-60% | Initial humidity values were provisional, practical work revealed that the initial conditions could not be fulfilled. | 12/2025 |