Kindly note that we have two different thermometer and probes. So the following should be considered when doing the verifications:

- The thermometer and probe come as a set: for e.g. the thermometer is 1b and the probe is 1a, together they form 1a+b. These should be used as a unit. At no point should you use 1a with 2b.

- Take note of the correction factors:

| OBS T1.1a+b | 40oC | 105oC | 500oC | 815oC | 900oC |
| --- | --- | --- | --- | --- | --- |
| Correction factor | 0 | -1.8 | -3 | -5 | -3 |

| OBS T2.1a+b | 40oC | 105oC | 500oC | 815oC | 900oC |
| --- | --- | --- | --- | --- | --- |
| Correction factor | 0.7 | -0.6 | -1 | 0 | 3 |

NB: Although there is a negative sign next to the correction factors, the principle is to add (i.e. we always add the correction factor).