|  | AzureSky |
| --- | --- |
|  | AS028TF; Checklist for Packaging. |
|  | Compiled by:; Sifiso Nyambi- Laboratory Manager. Approved by:; Nonhlanhla Msibi- Operations Manager. |

| No. | Verification Item | Requirement / Acceptance Criteria | Yes / No | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Analytical validation approval | All analytical parameters for the CRM batch have been validated and formally approved prior to packaging. |  |  |
| 2 | CRM label availability | Permanent CRM identification stickers are available prior to commencement of packaging. |  |  |
| 3 | Individual bottle labelling | Each CRM bottle is individually labelled with the correct CRM code, batch number, and required identification details. |  |  |
| 4 | Label legibility and attachment | Labels are legible, securely affixed, and resistant to normal handling and storage conditions. |  |  |
| 5 | Batch traceability verification | Bottle labels correspond correctly to the approved batch records and CRM documentation. |  |  |
| 6 | Tamper-evident sealing | All CRM bottles are sealed using approved tamper-evident containers or seals. |  |  |
| 7 | Temporary labelling (if applicable) | Where permanent labels were unavailable, approved temporary identification was applied, documented, and bottles were quarantined. |  |  |
| 8 | Permanent label reconciliation | Permanent CRM labels were applied and verified prior to release from quarantine (if temporary labels were used). |  |  |
| 9 | Release authorization | Packaging and labelling have been reviewed and authorized by designated personnel prior to storage or use. |  |  |
| 10 | Storage authorization | Only fully labelled and verified CRM bottles are released to the designated CRM storage facility. |  |  |