1st Read: Initial Temperature before inserting samples

2nd Read: Temperature after 4 minutes

3rd Read: Final Temperature before taking out the samples from the furnace

| Date | 1st Read | 2nd Read | 3rd Read | Furnace ID | Sample ID | Analyst | Supervisors’ Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |

TOLERANCE-LIMITS:900°C ± 5°C