Scope: To be completed whenever equipment outside the permanent control of Azuresky is utilized for accredited testing or verification activities.

Section 1: Equipment Identity

Item Description: _________________________________________________________

Manufacturer/model: _____________________________________________________

Serial Number: ___________________________________________________________

Owner/Lending Organization: _____________________________________________

Section 2: Calibration & Traceability Check

| Check Item | Requirement | Yes/No |
| --- | --- | --- |
| Calibration Certificate | Is a valid certificate available? |  |
| Accreditation Body | Does it bear the SANAS (or equivalent) logo and accreditation number? |  |
| Calibration Status | Is the equipment currently within its calibration period? |  |
| Traceability | Does the certificate confirm traceability to national standards? |  |
| Scope Suitability | Does the calibration range cover the intended test range? |  |

Section 3: Physical & Technical Verification

| Check Item | Requirement | Result/Value |
| --- | --- | --- |
| Visual Inspection | No visible damage, rust, or worn measuring surfaces? |  |
| Functional Check | Tool Operates smoothly; zero-point/blank point is stable? |  |
| Acclimatization | Equipment stabilized at laboratory temperature for > 2 hour prior to use? |  |
| Intermediate check | Result when measured against internal reference/standard where possible? | Value: |
| Reference ID | Identity of the internal reference used for check | ID: |

Section 4: Authorization

Technical Justification for use:______________________________________________________________________________________________________________________________________________________________

Statement of acceptance:  I have reviewed the documentation and performed the physical checks listed above. The equipment is deemed suitable for use and complies with the requirements of ISO 17025 Clause 6.4.2.

Verified By:______________________________________________________________________

Signature:______________

Date:__________________

Authorized By:___________________________________________________________________

Signature: ______________

Date: __________________