Table of Contents

1. Purpose	2

2. Scope	2

3. References	2

4. Definitions	2

5. Responsibilities	3

6. Procedure	3

6.1 Determination of Competence Requirements	3

6.2 Training Process	4

6.3 Technical (Theoretical) Assessment	4

6.4 Practical Witnessing	4

6.5 Authorization and Declaration	5

6.6 Ongoing Competence Monitoring	5

7. Records	6

8. Related Documents	6

## 1. Purpose

To define the process for evaluating, declaring, and maintaining the competence of personnel performing laboratory activities in compliance with ISO/IEC 17025:2017 Clause 6.2.

## 2. Scope

This procedure applies to all laboratory personnel involved in testing, calibration, sampling, reporting of results, and supporting technical functions.

## 3. References

- ISO/IEC 17025:2017, Clauses 6.2.1 – 6.2.6

- Laboratory Quality Manual(ASDP001)

- Competence Declaration of Competence form (ASMF6.1 Form)

## 4. Definitions

- Competence: Demonstrated ability to apply knowledge and skills to perform assigned tasks.

- Authorization: Formal approval by the Laboratory Manager or Supervisor permitting personnel to carry out specific laboratory tasks unsupervised.

- Technical Assessment: A structured theoretical evaluation that verifies understanding of method principles, calculations, and quality requirements.

## 5. Responsibilities

| Roles | Responsibilities |
| --- | --- |
| Laboratory Manager / Supervisor | - Ensures training, assessments, and witnessing are conducted; approves final competence declarations. |
|  | - Maintains competence records and monitors retraining needs. |
| Operator / Analyst | - Participates in training and assessment; ensures competence is maintained through ongoing performance. |

## 6. Procedure

## 6.1 Determination of Competence Requirements

- For each test method or activity, minimum competence requirements shall be defined, including:

  - Education level or technical background

  - Method-specific training

  - Practical laboratory experience

  - Understanding of quality system procedures (QMS, ISO 17025, ISO 17034 & ISO 17043 requirements)

Onboarding Lab Supervisors/Managers with prior technical signatory appointment in a similar accredited laboratory do not need test method training/witnessing; only the theoretical assessments and running of a PT sample for competency evaluation should suffice. For further understanding of technical signatory selection, appointment and authorization, refer to AS016 Proc.

The Director of the organization has full responsibility for appointing a nominated representative (NR), appointing and authorizing all technical signatories(TS).

## 6.2 Training Process

- Onboarding personnel shall undergo initial method training conducted by a competent analyst or supervisor.

- The training includes:

  - Review of the method procedure (SOP).

  - Explanation of the purpose, principle, and critical control points.

  - Demonstration of the method by a qualified analyst/operator.

  - Supervised performance of the method by the trainee.

## 6.3 Technical (Theoretical) Assessment

- Following training, the trainee shall complete a written technical assessment to evaluate:

  - Understanding of the analytical principles

  - Calculations and data interpretation

  - Equipment operation and safety

  - Awareness of method limitations and potential sources of error

Results are recorded and evaluated by the Laboratory Manager.

## 6.4 Practical Witnessing

- The trainee performs the full method independently under observation by a qualified witness (Supervisor or Manager).

- The witness completes a Witnessing form (SANAS F15-11) confirming satisfactory performance of:

  - Sample handling and preparation

  - Instrument use and calibration

  - Data recording and reporting

  - Compliance with the SOP and safety rules

  - Walkthrough on the method critical points

## 6.5 Authorization and Declaration

- Upon successful completion of:

  - Method training

  - Technical (theoretical) assessment

  - Practical witnessing

The Laboratory Manager/Supervisor authorizes the individual to perform the specific test method without supervision.

Authorization is documented on the Competence Declaration Form (ASMF 6.1 FORM), signed by both the Manager/Supervisor and the authorized staff member.

## 6.6 Ongoing Competence Monitoring

- Competence shall be re-evaluated:

  - Annually, or

  - After major method revisions, extended absence, or poor PT performance.

  - Ongoing competence monitoring shall be conducted via witnessing with the usage of SANAS F15-11 form.

- Refresher training or reauthorization shall be conducted if needed.

## 7. Records

| Record Name | Form No. | Retention Period |
| --- | --- | --- |
| Competence Declaration Form | ASMF 6.1 FORM | 10 years |
| SANAS | F 15-11 | 10 years |

## 8. Related Documents

- Quality Manual(ASDP001)

- SANAS (F15-11)

- SOPs for individual test methods (e.g. AS001IW,AS003IW,AS007IW etc.)

## Revision

| Revision no | Content changed | Effective Date |
| --- | --- | --- |
| 01 | No changes, additional information under section 6.1. ‘On boarding supervisors/ managers’ | February 2026 |