CRUSHERS EFFICIENCY

DATE: __________ Equipment No: _____ Crusher’s Size: ___

Operator’s name:_______________________

| Initial sample mass (kg) |  |
| --- | --- |
| Mass of crushed sample (kg) |  |
| Mass of oversize material (kg) |  |
| Mass of undersize material (kg) |  |

EFFECIENCY = ______________             DUST LOSS: =____________

DATE: _____ Equipment No: __________________ Crusher’s Size: _______            Operator’s name: ______________________

| Initial sample mass (kg) |  |
| --- | --- |
| Mass of crushed sample (kg) |  |
| Mass of oversize material (kg) |  |
| Mass of undersize material (kg) |  |

EFFECIENCY = ______________             DUST LOSS: =____________

DATE: __________ Equipment No: ________________ Crusher’s Size: _______            Operator’s name______________________

| Initial sample mass (kg) |  |
| --- | --- |
| Mass of crushed sample (kg) |  |
| Mass of oversized material (kg) |  |
| Mass of undersize material (kg) |  |

EFFECIENCY = ______________             DUST LOSS: =____________

NB: CRUSHER EFFICIENCY MUST BE ≥ 90%; DUST LOSS ≤ 10%

Supervisor’s signature: __________________________

CALCULATIONS:

%Efficiency=  Mass of undersizeMass of crushed sampleX100

%Dust loss=  Initial sample mass-mass of crushed sampleIntitial sample massX100

Comments: ______________________________________________________________________________________________________________________________________________________________________________________________________

Note: Should the crusher efficiency or dust loss test fail to come right after a duplicate has been done, then the shift supervisor must be informed to investigate. Should all internal investigations prove fruitless then an artisan should be called out.