HGI ANALYSIS FORM

| OPERATORS NAME | DATE ISSUED: | DATE TESTED: |
| --- | --- | --- |
|  | DATE COMPLITED: |  |
|  | BALANCE NO. |  |

| NB: SAMPLE AIR DRY FOR MINIMUN 5 HOURS SAMPLE NO | STARTING MASS | Mass(g) (1.18mmX 600µm | Test Mass(g) before grinding | Sieve No. | M1 Mass coal(g) >75µm |  | B Mass coal(g) -75µm | C=(T-M1)-B Loss (g) C=T-(A+B) | M=T-M1 Total mass (g) -75µm | HGI Mx+C |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HGI |  |  | Maximum acceptable difference between results |  |  |  |  |  |  |  |
| MX+C |  |  | Same laboratory (Repeatability) |  |  | Different laboratories (Reproducibility) |  |  |  |  |
| X=Mass (75µm) , C and M calculated |  |  | 2 units |  |  | 5 units |  |  |  |  |