ROOM TEMPERATURE AND CONDITIONING FORM

Date: _____________________

| Sample ID | Time Exposed | Time Bottled | Analyst |
| --- | --- | --- | --- |

Supervisor signature:__________________________

Revision table

| Content changed | Reason | Date |
| --- | --- | --- |
| Humidity changed from 25-45% to 25-60% | Initial humidity values were provisional, practical work revealed that the initial conditions could not be fulfilled. | 29/07/2025 |
| Humidity range changed from 25-45% to 25-65% | Even though the temperature is controlled the lab saw RH levels rising to 60%. Thus, changes are necessary to accommodate the higher values. | 11/12/2025 |