| # FURNACE ID __________________ | FURNACE TEMPERATURE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| DATE | 1ST READ (INITIAL) | 2ND READ | 3RD READ | MEAN + CORRECTION FACTOR | DONE BY | SUPERVISOR SIGNATURE |

CORRECTION FACTOR: ___________________ °C

THERMOCOUPLE No: _____________________

TOLERANCE-LIMITS:900 ± 5 (°C) Volatile & 815 ± 10 (ºC) Ash

REVISION TABLE

| REVISION NO | CONTENTS CHANGED | REASON FOR REVISION |
| --- | --- | --- |
| 01 | Removed the remarks column, furnace ID column removed from the table to a standalone block. | System refinement |