| # FURNACE ID __________________ | FURNACE TEMPERATURE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| DATE | 1ST READ (INITIAL) | 2ND READ | 3RD READ | MEAN + CORRECTION FACTOR | DONE BY | SUPERVISOR SIGNATURE |

CORRECTION FACTOR: _______________ °C

THERMOCOUPLE No: _________________

TOLERANCE-LIMITS:900 ± 5 (°C) Volatile & 815 ± 10 (ºC) Ash